## CZ01
0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
| Design Size Supply Air Flow Rate [m3/s] | Design Size Heating Supply Air Flow Rate [m3/s] | Design Size Cooling Supply Air Flow Rate [m3/s] | Design Size No Load Supply Air Flow Rate [m3/s] | Design Size Nominal Cooling Capacity [W] | Design Size Nominal Heating Capacity [W] | Design Size Maximum Supply Air Temperature [C] | User-Specified Maximum Supply Air Temperature [C] | Fraction of Supply Air Flow That Goes Through the Controlling Zone
DXFG EL1 G_SSE1 UNITARY SYSTEM | 0.026426 | 0.026426 | 0.026426 | 0.013213 | 437.45 | 1099.10 | 50.00 | 80.00 | 0.836229
DXFG EL1 T_SSE27 UNITARY SYSTEM | 0.096680 | 0.096680 | 0.096680 | 0.048340 | 1600.39 | 4021.08 | 50.00 | 80.00 | 0.504305
DXFG EL1 G_E3 UNITARY SYSTEM | 0.003260 | 0.003260 | 0.003260 | 0.001630 | 53.96 | 135.57 | 50.00 | 80.00 | 1.00
DXFG EL1 T_E29 UNITARY SYSTEM | 0.089588 | 0.089588 | 0.089588 | 0.044794 | 1483.30 | 3726.10 | 50.00 | 80.00 | 0.422214
DXFG EL1 G_E5 UNITARY SYSTEM | 0.021708 | 0.021708 | 0.021708 | 0.010854 | 359.34 | 902.87 | 50.00 | 80.00 | 1.00
DXFG EL1 T_E31 UNITARY SYSTEM | 0.078149 | 0.078149 | 0.078149 | 0.039075 | 1304.44 | 3250.38 | 50.00 | 80.00 | 0.423102
DXFG EL1 G_SSW7 UNITARY SYSTEM | 0.026679 | 0.026679 | 0.026679 | 0.013339 | 441.63 | 1109.59 | 50.00 | 80.00 | 0.833264
DXFG EL1 T_SSW33 UNITARY SYSTEM | 0.281160 | 0.281160 | 0.281160 | 0.140580 | 4654.20 | 11693.97 | 50.00 | 80.00 | 0.539289
DXFG EL1 G_W9 UNITARY SYSTEM | 0.003396 | 0.003396 | 0.003396 | 0.001698 | 56.22 | 141.24 | 50.00 | 80.00 | 1.00
DXFG EL1 T_W35 UNITARY SYSTEM | 0.280179 | 0.280179 | 0.280179 | 0.140090 | 4637.96 | 11653.08 | 50.00 | 80.00 | 0.539561
DXFG EL1 G_W11 UNITARY SYSTEM | 0.021837 | 0.021837 | 0.021837 | 0.010918 | 361.48 | 908.23 | 50.00 | 80.00 | 1.00
DXFG EL1 T_W37 UNITARY SYSTEM | 0.280565 | 0.280565 | 0.280565 | 0.140282 | 4644.34 | 11669.23 | 50.00 | 80.00 | 0.541803
DXFG EL2 G_WSW1 UNITARY SYSTEM | 0.026639 | 0.026639 | 0.026639 | 0.013320 | 440.98 | 1107.96 | 50.00 | 80.00 | 0.837393
DXFG EL2 T_WSW27 UNITARY SYSTEM | 0.282677 | 0.282677 | 0.282677 | 0.141338 | 4679.30 | 11757.04 | 50.00 | 80.00 | 0.913725
DXFG EL2 G_S3 UNITARY SYSTEM | 0.003260 | 0.003260 | 0.003260 | 0.001630 | 53.96 | 135.58 | 50.00 | 80.00 | 1.00
DXFG EL2 T_S29 UNITARY SYSTEM | 0.052242 | 0.052242 | 0.052242 | 0.026121 | 894.34 | 2172.82 | 50.00 | 80.00 | 0.551214
DXFG EL2 G_S5 UNITARY SYSTEM | 0.021480 | 0.021480 | 0.021480 | 0.010740 | 355.57 | 893.40 | 50.00 | 80.00 | 1.00
DXFG EL2 T_S31 UNITARY SYSTEM | 0.157259 | 0.157259 | 0.157259 | 0.078629 | 2603.19 | 6540.70 | 50.00 | 80.00 | 0.189106
DXFG EL2 G_N11 UNITARY SYSTEM | 0.021610 | 0.021610 | 0.021610 | 0.010805 | 357.72 | 898.79 | 50.00 | 80.00 | 1.00
DXFG EL2 T_N37 UNITARY SYSTEM | 0.159472 | 0.159472 | 0.159472 | 0.079736 | 2639.83 | 6632.74 | 50.00 | 80.00 | 0.187209
DXFG EL2 G_N9 UNITARY SYSTEM | 0.003396 | 0.003396 | 0.003396 | 0.001698 | 56.22 | 141.25 | 50.00 | 80.00 | 1.00
DXFG EL2 T_N35 UNITARY SYSTEM | 0.052452 | 0.052452 | 0.052452 | 0.026226 | 898.38 | 2181.54 | 50.00 | 80.00 | 0.551093
DXFG EL2 G_WNW7 UNITARY SYSTEM | 0.026892 | 0.026892 | 0.026892 | 0.013446 | 445.15 | 1118.45 | 50.00 | 80.00 | 0.834441
DXFG EL2 T_WNW33 UNITARY SYSTEM | 0.282923 | 0.282923 | 0.282923 | 0.141462 | 4683.39 | 11767.30 | 50.00 | 80.00 | 0.913454

## CZ02
0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
| Design Size Supply Air Flow Rate [m3/s] | Design Size Heating Supply Air Flow Rate [m3/s] | Design Size Cooling Supply Air Flow Rate [m3/s] | Design Size No Load Supply Air Flow Rate [m3/s] | Design Size Nominal Cooling Capacity [W] | Design Size Nominal Heating Capacity [W] | Design Size Maximum Supply Air Temperature [C] | User-Specified Maximum Supply Air Temperature [C] | Fraction of Supply Air Flow That Goes Through the Controlling Zone
DXFG EL1 G_SSE1 UNITARY SYSTEM | 0.062326 | 0.062326 | 0.062326 | 0.031163 | 1176.41 | 2257.85 | 50.00 | 80.00 | 0.660475
DXFG EL1 T_SSE27 UNITARY SYSTEM | 0.252375 | 0.252375 | 0.252375 | 0.126188 | 4702.38 | 9160.56 | 50.00 | 80.00 | 0.644187
DXFG EL1 G_E3 UNITARY SYSTEM | 0.051498 | 0.051498 | 0.051498 | 0.025749 | 952.57 | 3109.76 | 50.00 | 80.00 | 0.591158
DXFG EL1 T_E29 UNITARY SYSTEM | 0.218146 | 0.218146 | 0.218146 | 0.109073 | 4023.60 | 7919.03 | 50.00 | 80.00 | 0.594818
DXFG EL1 G_E5 UNITARY SYSTEM | 0.065159 | 0.065159 | 0.065159 | 0.032580 | 1224.51 | 2360.96 | 50.00 | 80.00 | 0.472564
DXFG EL1 T_E31 UNITARY SYSTEM | 0.253993 | 0.253993 | 0.253993 | 0.126997 | 4757.00 | 9231.06 | 50.00 | 80.00 | 0.519284
DXFG EL1 G_SSW7 UNITARY SYSTEM | 0.061470 | 0.061470 | 0.061470 | 0.030735 | 1160.34 | 2226.81 | 50.00 | 80.00 | 0.661954
DXFG EL1 T_SSW33 UNITARY SYSTEM | 0.417224 | 0.417224 | 0.417224 | 0.208612 | 7606.08 | 15144.12 | 50.00 | 80.00 | 0.589737
DXFG EL1 G_W9 UNITARY SYSTEM | 0.050539 | 0.050539 | 0.050539 | 0.025270 | 934.88 | 3051.87 | 50.00 | 80.00 | 0.591442
DXFG EL1 T_W35 UNITARY SYSTEM | 0.389137 | 0.389137 | 0.389137 | 0.194569 | 7090.19 | 14126.25 | 50.00 | 80.00 | 0.563596
DXFG EL1 G_W11 UNITARY SYSTEM | 0.064285 | 0.064285 | 0.064285 | 0.032142 | 1208.16 | 2329.29 | 50.00 | 80.00 | 0.470980
DXFG EL1 T_W37 UNITARY SYSTEM | 0.417662 | 0.417662 | 0.417662 | 0.208831 | 7612.85 | 15179.39 | 50.00 | 80.00 | 0.529898
DXFG EL2 G_WSW1 UNITARY SYSTEM | 0.061404 | 0.061404 | 0.061404 | 0.030702 | 1159.11 | 2224.34 | 50.00 | 80.00 | 0.662194
DXFG EL2 T_WSW27 UNITARY SYSTEM | 0.417058 | 0.417058 | 0.417058 | 0.208529 | 7616.36 | 15138.05 | 50.00 | 80.00 | 0.791758
DXFG EL2 G_S3 UNITARY SYSTEM | 0.050475 | 0.050475 | 0.050475 | 0.025237 | 933.69 | 3047.97 | 50.00 | 80.00 | 0.591668
DXFG EL2 T_S29 UNITARY SYSTEM | 0.206603 | 0.206603 | 0.206603 | 0.103302 | 3811.06 | 7500.09 | 50.00 | 80.00 | 0.596508
DXFG EL2 G_S5 UNITARY SYSTEM | 0.064740 | 0.064740 | 0.064740 | 0.032370 | 1216.77 | 2345.77 | 50.00 | 80.00 | 0.469179
DXFG EL2 T_S31 UNITARY SYSTEM | 0.249729 | 0.249729 | 0.249729 | 0.124865 | 4678.74 | 9076.19 | 50.00 | 80.00 | 0.509381
DXFG EL2 G_N11 UNITARY SYSTEM | 0.064806 | 0.064806 | 0.064806 | 0.032403 | 1218.00 | 2348.18 | 50.00 | 80.00 | 0.469625
DXFG EL2 T_N37 UNITARY SYSTEM | 0.250292 | 0.250292 | 0.250292 | 0.125146 | 4689.28 | 9096.56 | 50.00 | 80.00 | 0.509320
DXFG EL2 G_N9 UNITARY SYSTEM | 0.050537 | 0.050537 | 0.050537 | 0.025268 | 934.85 | 3051.73 | 50.00 | 80.00 | 0.592134
DXFG EL2 T_N35 UNITARY SYSTEM | 0.206954 | 0.206954 | 0.206954 | 0.103477 | 3817.52 | 7512.72 | 50.00 | 80.00 | 0.596751
DXFG EL2 G_WNW7 UNITARY SYSTEM | 0.061445 | 0.061445 | 0.061445 | 0.030722 | 1159.89 | 2225.57 | 50.00 | 80.00 | 0.662423
DXFG EL2 T_WNW33 UNITARY SYSTEM | 0.418092 | 0.418092 | 0.418092 | 0.209046 | 7635.13 | 15175.59 | 50.00 | 80.00 | 0.792149

## CZ03
0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
| Design Size Supply Air Flow Rate [m3/s] | Design Size Heating Supply Air Flow Rate [m3/s] | Design Size Cooling Supply Air Flow Rate [m3/s] | Design Size No Load Supply Air Flow Rate [m3/s] | Design Size Nominal Cooling Capacity [W] | Design Size Nominal Heating Capacity [W] | Design Size Maximum Supply Air Temperature [C] | User-Specified Maximum Supply Air Temperature [C] | Fraction of Supply Air Flow That Goes Through the Controlling Zone
DXFG EL1 G_SSE1 UNITARY SYSTEM | 0.069001 | 0.069001 | 0.069001 | 0.034500 | 1163.76 | 2528.40 | 50.00 | 80.00 | 0.698847
DXFG EL1 T_SSE27 UNITARY SYSTEM | 0.275588 | 0.275588 | 0.275588 | 0.137794 | 4561.96 | 10053.91 | 50.00 | 80.00 | 0.602672
DXFG EL1 G_E3 UNITARY SYSTEM | 0.048041 | 0.048041 | 0.048041 | 0.024020 | 824.86 | 1756.24 | 50.00 | 80.00 | 0.571398
DXFG EL1 T_E29 UNITARY SYSTEM | 0.236391 | 0.236391 | 0.236391 | 0.118196 | 3913.11 | 8612.83 | 50.00 | 80.00 | 0.534400
DXFG EL1 G_E5 UNITARY SYSTEM | 0.070290 | 0.070290 | 0.070290 | 0.035145 | 1179.97 | 2559.70 | 50.00 | 80.00 | 0.397052
DXFG EL1 T_E31 UNITARY SYSTEM | 0.254518 | 0.254518 | 0.254518 | 0.127259 | 4213.18 | 9257.15 | 50.00 | 80.00 | 0.491570
DXFG EL1 G_SSW7 UNITARY SYSTEM | 0.068183 | 0.068183 | 0.068183 | 0.034092 | 1150.80 | 2498.41 | 50.00 | 80.00 | 0.699953
DXFG EL1 T_SSW33 UNITARY SYSTEM | 0.468578 | 0.468578 | 0.468578 | 0.234289 | 7756.62 | 17094.48 | 50.00 | 80.00 | 0.581649
DXFG EL1 G_W9 UNITARY SYSTEM | 0.047284 | 0.047284 | 0.047284 | 0.023642 | 812.25 | 1728.58 | 50.00 | 80.00 | 0.571292
DXFG EL1 T_W35 UNITARY SYSTEM | 0.440705 | 0.440705 | 0.440705 | 0.220352 | 7295.23 | 16056.93 | 50.00 | 80.00 | 0.558410
DXFG EL1 G_W11 UNITARY SYSTEM | 0.069485 | 0.069485 | 0.069485 | 0.034743 | 1166.87 | 2530.41 | 50.00 | 80.00 | 0.395427
DXFG EL1 T_W37 UNITARY SYSTEM | 0.468807 | 0.468807 | 0.468807 | 0.234403 | 7760.41 | 17051.13 | 50.00 | 80.00 | 0.529301
DXFG EL2 G_WSW1 UNITARY SYSTEM | 0.068211 | 0.068211 | 0.068211 | 0.034106 | 1151.26 | 2499.44 | 50.00 | 80.00 | 0.698690
DXFG EL2 T_WSW27 UNITARY SYSTEM | 0.459291 | 0.459291 | 0.459291 | 0.229646 | 7602.90 | 16755.69 | 50.00 | 80.00 | 0.829474
DXFG EL2 G_S3 UNITARY SYSTEM | 0.047532 | 0.047532 | 0.047532 | 0.023766 | 816.22 | 1737.63 | 50.00 | 80.00 | 0.571515
DXFG EL2 T_S29 UNITARY SYSTEM | 0.187818 | 0.187818 | 0.187818 | 0.093909 | 3109.05 | 6843.08 | 50.00 | 80.00 | 0.594136
DXFG EL2 G_S5 UNITARY SYSTEM | 0.070439 | 0.070439 | 0.070439 | 0.035220 | 1181.91 | 2565.15 | 50.00 | 80.00 | 0.393313
DXFG EL2 T_S31 UNITARY SYSTEM | 0.335245 | 0.335245 | 0.335245 | 0.167623 | 5549.50 | 12193.32 | 50.00 | 80.00 | 0.344413
DXFG EL2 G_N11 UNITARY SYSTEM | 0.070139 | 0.070139 | 0.070139 | 0.035069 | 1177.12 | 2554.18 | 50.00 | 80.00 | 0.392613
DXFG EL2 T_N37 UNITARY SYSTEM | 0.334954 | 0.334954 | 0.334954 | 0.167477 | 5544.68 | 12182.70 | 50.00 | 80.00 | 0.343588
DXFG EL2 G_N9 UNITARY SYSTEM | 0.047264 | 0.047264 | 0.047264 | 0.023632 | 811.91 | 1727.84 | 50.00 | 80.00 | 0.571258
DXFG EL2 T_N35 UNITARY SYSTEM | 0.187284 | 0.187284 | 0.187284 | 0.093642 | 3100.21 | 6823.62 | 50.00 | 80.00 | 0.593870
DXFG EL2 G_WNW7 UNITARY SYSTEM | 0.067923 | 0.067923 | 0.067923 | 0.033962 | 1146.70 | 2488.91 | 50.00 | 80.00 | 0.698927
DXFG EL2 T_WNW33 UNITARY SYSTEM | 0.459820 | 0.459820 | 0.459820 | 0.229910 | 7611.65 | 16774.99 | 50.00 | 80.00 | 0.830068

## CZ04
0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
| Design Size Supply Air Flow Rate [m3/s] | Design Size Heating Supply Air Flow Rate [m3/s] | Design Size Cooling Supply Air Flow Rate [m3/s] | Design Size No Load Supply Air Flow Rate [m3/s] | Design Size Nominal Cooling Capacity [W] | Design Size Nominal Heating Capacity [W] | Design Size Maximum Supply Air Temperature [C] | User-Specified Maximum Supply Air Temperature [C] | Fraction of Supply Air Flow That Goes Through the Controlling Zone
DXFG EL1 G_SSE1 UNITARY SYSTEM | 0.069336 | 0.069336 | 0.069336 | 0.034668 | 1318.68 | 2418.93 | 50.00 | 80.00 | 0.658151
DXFG EL1 T_SSE27 UNITARY SYSTEM | 0.259987 | 0.259987 | 0.259987 | 0.129993 | 4914.10 | 9073.86 | 50.00 | 80.00 | 0.641206
DXFG EL1 G_E3 UNITARY SYSTEM | 0.057136 | 0.057136 | 0.057136 | 0.028568 | 1066.65 | 3451.05 | 50.00 | 80.00 | 0.587857
DXFG EL1 T_E29 UNITARY SYSTEM | 0.226203 | 0.226203 | 0.226203 | 0.113101 | 4194.11 | 7894.73 | 50.00 | 80.00 | 0.594322
DXFG EL1 G_E5 UNITARY SYSTEM | 0.072052 | 0.072052 | 0.072052 | 0.036026 | 1364.54 | 2514.69 | 50.00 | 80.00 | 0.471599
DXFG EL1 T_E31 UNITARY SYSTEM | 0.263636 | 0.263636 | 0.263636 | 0.131818 | 4959.84 | 9201.28 | 50.00 | 80.00 | 0.518416
DXFG EL1 G_SSW7 UNITARY SYSTEM | 0.068696 | 0.068696 | 0.068696 | 0.034348 | 1306.65 | 2396.87 | 50.00 | 80.00 | 0.659164
DXFG EL1 T_SSW33 UNITARY SYSTEM | 0.426529 | 0.426529 | 0.426529 | 0.213264 | 7824.53 | 14886.38 | 50.00 | 80.00 | 0.591791
DXFG EL1 G_W9 UNITARY SYSTEM | 0.056469 | 0.056469 | 0.056469 | 0.028234 | 1054.30 | 3410.75 | 50.00 | 80.00 | 0.588371
DXFG EL1 T_W35 UNITARY SYSTEM | 0.396330 | 0.396330 | 0.396330 | 0.198165 | 7263.67 | 13832.35 | 50.00 | 80.00 | 0.564122
DXFG EL1 G_W11 UNITARY SYSTEM | 0.071449 | 0.071449 | 0.071449 | 0.035724 | 1353.21 | 2493.62 | 50.00 | 80.00 | 0.470815
DXFG EL1 T_W37 UNITARY SYSTEM | 0.426393 | 0.426393 | 0.426393 | 0.213196 | 7824.12 | 14881.71 | 50.00 | 80.00 | 0.529008
DXFG EL2 G_WSW1 UNITARY SYSTEM | 0.068682 | 0.068682 | 0.068682 | 0.034341 | 1306.40 | 2396.48 | 50.00 | 80.00 | 0.659334
DXFG EL2 T_WSW27 UNITARY SYSTEM | 0.426757 | 0.426757 | 0.426757 | 0.213378 | 7837.05 | 14894.34 | 50.00 | 80.00 | 0.784847
DXFG EL2 G_S3 UNITARY SYSTEM | 0.056438 | 0.056438 | 0.056438 | 0.028219 | 1053.73 | 3408.91 | 50.00 | 80.00 | 0.588416
DXFG EL2 T_S29 UNITARY SYSTEM | 0.218259 | 0.218259 | 0.218259 | 0.109130 | 4047.37 | 7617.50 | 50.00 | 80.00 | 0.595492
DXFG EL2 G_S5 UNITARY SYSTEM | 0.071796 | 0.071796 | 0.071796 | 0.035898 | 1359.79 | 2505.74 | 50.00 | 80.00 | 0.469630
DXFG EL2 T_S31 UNITARY SYSTEM | 0.261449 | 0.261449 | 0.261449 | 0.130725 | 4920.02 | 9124.94 | 50.00 | 80.00 | 0.510557
DXFG EL2 G_N11 UNITARY SYSTEM | 0.071801 | 0.071801 | 0.071801 | 0.035900 | 1359.88 | 2505.90 | 50.00 | 80.00 | 0.469554
DXFG EL2 T_N37 UNITARY SYSTEM | 0.261515 | 0.261515 | 0.261515 | 0.130757 | 4921.29 | 9127.24 | 50.00 | 80.00 | 0.510310
DXFG EL2 G_N9 UNITARY SYSTEM | 0.056426 | 0.056426 | 0.056426 | 0.028213 | 1053.51 | 3408.19 | 50.00 | 80.00 | 0.588486
DXFG EL2 T_N35 UNITARY SYSTEM | 0.218280 | 0.218280 | 0.218280 | 0.109140 | 4047.74 | 7618.20 | 50.00 | 80.00 | 0.595231
DXFG EL2 G_WNW7 UNITARY SYSTEM | 0.068652 | 0.068652 | 0.068652 | 0.034326 | 1305.83 | 2395.68 | 50.00 | 80.00 | 0.659317
DXFG EL2 T_WNW33 UNITARY SYSTEM | 0.427576 | 0.427576 | 0.427576 | 0.213788 | 7851.97 | 14922.94 | 50.00 | 80.00 | 0.785182

## CZ05
0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
| Design Size Supply Air Flow Rate [m3/s] | Design Size Heating Supply Air Flow Rate [m3/s] | Design Size Cooling Supply Air Flow Rate [m3/s] | Design Size No Load Supply Air Flow Rate [m3/s] | Design Size Nominal Cooling Capacity [W] | Design Size Nominal Heating Capacity [W] | Design Size Maximum Supply Air Temperature [C] | User-Specified Maximum Supply Air Temperature [C] | Fraction of Supply Air Flow That Goes Through the Controlling Zone
DXFG EL1 G_SSE1 UNITARY SYSTEM | 0.071555 | 0.071555 | 0.071555 | 0.035778 | 1184.50 | 2575.92 | 50.00 | 80.00 | 0.717527
DXFG EL1 T_SSE27 UNITARY SYSTEM | 0.254693 | 0.254693 | 0.254693 | 0.127346 | 4216.07 | 9168.70 | 50.00 | 80.00 | 0.655427
DXFG EL1 G_E3 UNITARY SYSTEM | 0.044695 | 0.044695 | 0.044695 | 0.022348 | 739.86 | 1608.95 | 50.00 | 80.00 | 0.559781
DXFG EL1 T_E29 UNITARY SYSTEM | 0.208089 | 0.208089 | 0.208089 | 0.104045 | 3444.61 | 7490.25 | 50.00 | 80.00 | 0.567861
DXFG EL1 G_E5 UNITARY SYSTEM | 0.073988 | 0.073988 | 0.073988 | 0.036994 | 1224.76 | 2663.48 | 50.00 | 80.00 | 0.344924
DXFG EL1 T_E31 UNITARY SYSTEM | 0.253190 | 0.253190 | 0.253190 | 0.126595 | 4191.19 | 9114.27 | 50.00 | 80.00 | 0.485504
DXFG EL1 G_SSW7 UNITARY SYSTEM | 0.071926 | 0.071926 | 0.071926 | 0.035963 | 1190.63 | 2589.25 | 50.00 | 80.00 | 0.716637
DXFG EL1 T_SSW33 UNITARY SYSTEM | 0.478419 | 0.478419 | 0.478419 | 0.239209 | 7919.53 | 17222.63 | 50.00 | 80.00 | 0.572099
DXFG EL1 G_W9 UNITARY SYSTEM | 0.045053 | 0.045053 | 0.045053 | 0.022527 | 745.79 | 1621.84 | 50.00 | 80.00 | 0.559585
DXFG EL1 T_W35 UNITARY SYSTEM | 0.454667 | 0.454667 | 0.454667 | 0.227334 | 7526.36 | 16366.01 | 50.00 | 80.00 | 0.555033
DXFG EL1 G_W11 UNITARY SYSTEM | 0.074352 | 0.074352 | 0.074352 | 0.037176 | 1230.79 | 2676.60 | 50.00 | 80.00 | 0.345776
DXFG EL1 T_W37 UNITARY SYSTEM | 0.477675 | 0.477675 | 0.477675 | 0.238838 | 7907.22 | 17195.31 | 50.00 | 80.00 | 0.535355
DXFG EL2 G_WSW1 UNITARY SYSTEM | 0.071880 | 0.071880 | 0.071880 | 0.035940 | 1189.87 | 2587.60 | 50.00 | 80.00 | 0.718749
DXFG EL2 T_WSW27 UNITARY SYSTEM | 0.465601 | 0.465601 | 0.465601 | 0.232801 | 7707.35 | 16761.22 | 50.00 | 80.00 | 0.823409
DXFG EL2 G_S3 UNITARY SYSTEM | 0.044695 | 0.044695 | 0.044695 | 0.022348 | 739.87 | 1608.96 | 50.00 | 80.00 | 0.559776
DXFG EL2 T_S29 UNITARY SYSTEM | 0.188916 | 0.188916 | 0.188916 | 0.094458 | 3127.23 | 6800.12 | 50.00 | 80.00 | 0.592315
DXFG EL2 G_S5 UNITARY SYSTEM | 0.073643 | 0.073643 | 0.073643 | 0.036821 | 1219.05 | 2651.08 | 50.00 | 80.00 | 0.346507
DXFG EL2 T_S31 UNITARY SYSTEM | 0.297165 | 0.297165 | 0.297165 | 0.148582 | 4919.14 | 10697.28 | 50.00 | 80.00 | 0.397774
DXFG EL2 G_N11 UNITARY SYSTEM | 0.074008 | 0.074008 | 0.074008 | 0.037004 | 1225.10 | 2664.22 | 50.00 | 80.00 | 0.347353
DXFG EL2 T_N37 UNITARY SYSTEM | 0.298543 | 0.298543 | 0.298543 | 0.149271 | 4941.94 | 10746.91 | 50.00 | 80.00 | 0.395257
DXFG EL2 G_N9 UNITARY SYSTEM | 0.045053 | 0.045053 | 0.045053 | 0.022527 | 745.79 | 1621.84 | 50.00 | 80.00 | 0.559581
DXFG EL2 T_N35 UNITARY SYSTEM | 0.188627 | 0.188627 | 0.188627 | 0.094314 | 3122.45 | 6789.74 | 50.00 | 80.00 | 0.592018
DXFG EL2 G_WNW7 UNITARY SYSTEM | 0.072250 | 0.072250 | 0.072250 | 0.036125 | 1196.00 | 2600.93 | 50.00 | 80.00 | 0.717857
DXFG EL2 T_WNW33 UNITARY SYSTEM | 0.467063 | 0.467063 | 0.467063 | 0.233532 | 7731.56 | 16813.86 | 50.00 | 80.00 | 0.824155

## CZ06
0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
| Design Size Supply Air Flow Rate [m3/s] | Design Size Heating Supply Air Flow Rate [m3/s] | Design Size Cooling Supply Air Flow Rate [m3/s] | Design Size No Load Supply Air Flow Rate [m3/s] | Design Size Nominal Cooling Capacity [W] | Design Size Nominal Heating Capacity [W] | Design Size Maximum Supply Air Temperature [C] | User-Specified Maximum Supply Air Temperature [C] | Fraction of Supply Air Flow That Goes Through the Controlling Zone
DXFG EL1 G_SSE1 UNITARY SYSTEM | 0.073325 | 0.073325 | 0.073325 | 0.036662 | 1236.82 | 2630.99 | 50.00 | 80.00 | 0.700044
DXFG EL1 T_SSE27 UNITARY SYSTEM | 0.269502 | 0.269502 | 0.269502 | 0.134751 | 4461.22 | 9670.31 | 50.00 | 80.00 | 0.600237
DXFG EL1 G_E3 UNITARY SYSTEM | 0.050796 | 0.050796 | 0.050796 | 0.025398 | 858.00 | 1822.64 | 50.00 | 80.00 | 0.573291
DXFG EL1 T_E29 UNITARY SYSTEM | 0.233934 | 0.233934 | 0.233934 | 0.116967 | 3872.44 | 8394.00 | 50.00 | 80.00 | 0.536747
DXFG EL1 G_E5 UNITARY SYSTEM | 0.075042 | 0.075042 | 0.075042 | 0.037521 | 1263.62 | 2692.64 | 50.00 | 80.00 | 0.396312
DXFG EL1 T_E31 UNITARY SYSTEM | 0.251853 | 0.251853 | 0.251853 | 0.125927 | 4169.06 | 9037.01 | 50.00 | 80.00 | 0.496310
DXFG EL1 G_SSW7 UNITARY SYSTEM | 0.072750 | 0.072750 | 0.072750 | 0.036375 | 1227.18 | 2610.36 | 50.00 | 80.00 | 0.700901
DXFG EL1 T_SSW33 UNITARY SYSTEM | 0.442509 | 0.442509 | 0.442509 | 0.221255 | 7358.55 | 15878.16 | 50.00 | 80.00 | 0.583328
DXFG EL1 G_W9 UNITARY SYSTEM | 0.050257 | 0.050257 | 0.050257 | 0.025129 | 848.89 | 1803.29 | 50.00 | 80.00 | 0.573385
DXFG EL1 T_W35 UNITARY SYSTEM | 0.415105 | 0.415105 | 0.415105 | 0.207553 | 6902.62 | 14894.77 | 50.00 | 80.00 | 0.559209
DXFG EL1 G_W11 UNITARY SYSTEM | 0.074469 | 0.074469 | 0.074469 | 0.037234 | 1253.95 | 2672.07 | 50.00 | 80.00 | 0.395312
DXFG EL1 T_W37 UNITARY SYSTEM | 0.443297 | 0.443297 | 0.443297 | 0.221648 | 7371.20 | 15906.41 | 50.00 | 80.00 | 0.528293
DXFG EL2 G_WSW1 UNITARY SYSTEM | 0.072739 | 0.072739 | 0.072739 | 0.036370 | 1227.00 | 2609.98 | 50.00 | 80.00 | 0.700945
DXFG EL2 T_WSW27 UNITARY SYSTEM | 0.433844 | 0.433844 | 0.433844 | 0.216922 | 7222.23 | 15567.21 | 50.00 | 80.00 | 0.820599
DXFG EL2 G_S3 UNITARY SYSTEM | 0.050236 | 0.050236 | 0.050236 | 0.025118 | 848.58 | 1802.52 | 50.00 | 80.00 | 0.573359
DXFG EL2 T_S29 UNITARY SYSTEM | 0.186478 | 0.186478 | 0.186478 | 0.093239 | 3127.47 | 6691.20 | 50.00 | 80.00 | 0.593350
DXFG EL2 G_S5 UNITARY SYSTEM | 0.074785 | 0.074785 | 0.074785 | 0.037392 | 1259.28 | 2683.39 | 50.00 | 80.00 | 0.394155
DXFG EL2 T_S31 UNITARY SYSTEM | 0.324692 | 0.324692 | 0.324692 | 0.162346 | 5374.80 | 11650.61 | 50.00 | 80.00 | 0.351765
DXFG EL2 G_N11 UNITARY SYSTEM | 0.074997 | 0.074997 | 0.074997 | 0.037499 | 1262.86 | 2691.03 | 50.00 | 80.00 | 0.394595
DXFG EL2 T_N37 UNITARY SYSTEM | 0.326869 | 0.326869 | 0.326869 | 0.163435 | 5410.85 | 11728.76 | 50.00 | 80.00 | 0.350806
DXFG EL2 G_N9 UNITARY SYSTEM | 0.050433 | 0.050433 | 0.050433 | 0.025216 | 851.89 | 1809.58 | 50.00 | 80.00 | 0.573416
DXFG EL2 T_N35 UNITARY SYSTEM | 0.187135 | 0.187135 | 0.187135 | 0.093568 | 3138.45 | 6714.77 | 50.00 | 80.00 | 0.593500
DXFG EL2 G_WNW7 UNITARY SYSTEM | 0.072950 | 0.072950 | 0.072950 | 0.036475 | 1230.54 | 2617.55 | 50.00 | 80.00 | 0.700692
DXFG EL2 T_WNW33 UNITARY SYSTEM | 0.435502 | 0.435502 | 0.435502 | 0.217751 | 7249.67 | 15626.71 | 50.00 | 80.00 | 0.820733

## CZ07
0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
| Design Size Supply Air Flow Rate [m3/s] | Design Size Heating Supply Air Flow Rate [m3/s] | Design Size Cooling Supply Air Flow Rate [m3/s] | Design Size No Load Supply Air Flow Rate [m3/s] | Design Size Nominal Cooling Capacity [W] | Design Size Nominal Heating Capacity [W] | Design Size Maximum Supply Air Temperature [C] | User-Specified Maximum Supply Air Temperature [C] | Fraction of Supply Air Flow That Goes Through the Controlling Zone
DXFG EL1 G_SSE1 UNITARY SYSTEM | 0.054889 | 0.054889 | 0.054889 | 0.027445 | 1051.34 | 1953.76 | 50.00 | 80.00 | 0.647964
DXFG EL1 T_SSE27 UNITARY SYSTEM | 0.230227 | 0.230227 | 0.230227 | 0.115114 | 4236.32 | 8194.93 | 50.00 | 80.00 | 0.606410
DXFG EL1 G_E3 UNITARY SYSTEM | 0.048370 | 0.048370 | 0.048370 | 0.024185 | 932.36 | 1721.68 | 50.00 | 80.00 | 0.602475
DXFG EL1 T_E29 UNITARY SYSTEM | 0.213114 | 0.213114 | 0.213114 | 0.106557 | 3816.03 | 7585.74 | 50.00 | 80.00 | 0.571722
DXFG EL1 G_E5 UNITARY SYSTEM | 0.061535 | 0.061535 | 0.061535 | 0.030768 | 1227.49 | 2190.33 | 50.00 | 80.00 | 0.477640
DXFG EL1 T_E31 UNITARY SYSTEM | 0.225273 | 0.225273 | 0.225273 | 0.112636 | 4204.92 | 8018.60 | 50.00 | 80.00 | 0.544062
DXFG EL1 G_SSW7 UNITARY SYSTEM | 0.054583 | 0.054583 | 0.054583 | 0.027291 | 1045.90 | 1942.84 | 50.00 | 80.00 | 0.648800
DXFG EL1 T_SSW33 UNITARY SYSTEM | 0.435063 | 0.435063 | 0.435063 | 0.217532 | 7810.65 | 15486.05 | 50.00 | 80.00 | 0.578924
DXFG EL1 G_W9 UNITARY SYSTEM | 0.047991 | 0.047991 | 0.047991 | 0.023996 | 925.64 | 1708.21 | 50.00 | 80.00 | 0.602865
DXFG EL1 T_W35 UNITARY SYSTEM | 0.414700 | 0.414700 | 0.414700 | 0.207350 | 7438.22 | 14761.16 | 50.00 | 80.00 | 0.561172
DXFG EL1 G_W11 UNITARY SYSTEM | 0.061208 | 0.061208 | 0.061208 | 0.030604 | 1221.38 | 2178.66 | 50.00 | 80.00 | 0.477139
DXFG EL1 T_W37 UNITARY SYSTEM | 0.435696 | 0.435696 | 0.435696 | 0.217848 | 7818.77 | 15508.61 | 50.00 | 80.00 | 0.538103
DXFG EL2 G_WSW1 UNITARY SYSTEM | 0.054461 | 0.054461 | 0.054461 | 0.027231 | 1043.60 | 1938.52 | 50.00 | 80.00 | 0.648542
DXFG EL2 T_WSW27 UNITARY SYSTEM | 0.424353 | 0.424353 | 0.424353 | 0.212177 | 7600.89 | 15104.82 | 50.00 | 80.00 | 0.801422
DXFG EL2 G_S3 UNITARY SYSTEM | 0.047947 | 0.047947 | 0.047947 | 0.023974 | 924.75 | 1706.65 | 50.00 | 80.00 | 0.603060
DXFG EL2 T_S29 UNITARY SYSTEM | 0.197206 | 0.197206 | 0.197206 | 0.098603 | 3607.95 | 7019.52 | 50.00 | 80.00 | 0.607525
DXFG EL2 G_S5 UNITARY SYSTEM | 0.061679 | 0.061679 | 0.061679 | 0.030840 | 1230.52 | 2195.45 | 50.00 | 80.00 | 0.474149
DXFG EL2 T_S31 UNITARY SYSTEM | 0.299561 | 0.299561 | 0.299561 | 0.149781 | 5263.28 | 10662.89 | 50.00 | 80.00 | 0.406165
DXFG EL2 G_N11 UNITARY SYSTEM | 0.061498 | 0.061498 | 0.061498 | 0.030749 | 1227.08 | 2189.01 | 50.00 | 80.00 | 0.474878
DXFG EL2 T_N37 UNITARY SYSTEM | 0.303876 | 0.303876 | 0.303876 | 0.151938 | 5330.31 | 10816.48 | 50.00 | 80.00 | 0.404404
DXFG EL2 G_N9 UNITARY SYSTEM | 0.047880 | 0.047880 | 0.047880 | 0.023940 | 923.57 | 1704.24 | 50.00 | 80.00 | 0.603014
DXFG EL2 T_N35 UNITARY SYSTEM | 0.197872 | 0.197872 | 0.197872 | 0.098936 | 3619.47 | 7043.23 | 50.00 | 80.00 | 0.609642
DXFG EL2 G_WNW7 UNITARY SYSTEM | 0.054285 | 0.054285 | 0.054285 | 0.027142 | 1040.34 | 1932.25 | 50.00 | 80.00 | 0.647831
DXFG EL2 T_WNW33 UNITARY SYSTEM | 0.427390 | 0.427390 | 0.427390 | 0.213695 | 7639.93 | 15212.91 | 50.00 | 80.00 | 0.798503

## CZ08
0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
| Design Size Supply Air Flow Rate [m3/s] | Design Size Heating Supply Air Flow Rate [m3/s] | Design Size Cooling Supply Air Flow Rate [m3/s] | Design Size No Load Supply Air Flow Rate [m3/s] | Design Size Nominal Cooling Capacity [W] | Design Size Nominal Heating Capacity [W] | Design Size Maximum Supply Air Temperature [C] | User-Specified Maximum Supply Air Temperature [C] | Fraction of Supply Air Flow That Goes Through the Controlling Zone
DXFG EL1 G_SSE1 UNITARY SYSTEM | 0.076820 | 0.076820 | 0.076820 | 0.038410 | 1534.18 | 2785.04 | 50.00 | 80.00 | 0.652634
DXFG EL1 T_SSE27 UNITARY SYSTEM | 0.278613 | 0.278613 | 0.278613 | 0.139306 | 5336.35 | 10101.08 | 50.00 | 80.00 | 0.642148
DXFG EL1 G_E3 UNITARY SYSTEM | 0.066436 | 0.066436 | 0.066436 | 0.033218 | 1244.92 | 2408.58 | 50.00 | 80.00 | 0.597142
DXFG EL1 T_E29 UNITARY SYSTEM | 0.241147 | 0.241147 | 0.241147 | 0.120573 | 4520.24 | 8742.72 | 50.00 | 80.00 | 0.593419
DXFG EL1 G_E5 UNITARY SYSTEM | 0.084114 | 0.084114 | 0.084114 | 0.042057 | 1647.04 | 3049.51 | 50.00 | 80.00 | 0.476117
DXFG EL1 T_E31 UNITARY SYSTEM | 0.281979 | 0.281979 | 0.281979 | 0.140989 | 5406.22 | 10223.11 | 50.00 | 80.00 | 0.516107
DXFG EL1 G_SSW7 UNITARY SYSTEM | 0.076611 | 0.076611 | 0.076611 | 0.038306 | 1526.41 | 2777.47 | 50.00 | 80.00 | 0.651176
DXFG EL1 T_SSW33 UNITARY SYSTEM | 0.517477 | 0.517477 | 0.517477 | 0.258739 | 9445.17 | 18761.10 | 50.00 | 80.00 | 0.586091
DXFG EL1 G_W9 UNITARY SYSTEM | 0.066236 | 0.066236 | 0.066236 | 0.033118 | 1239.63 | 2401.30 | 50.00 | 80.00 | 0.596615
DXFG EL1 T_W35 UNITARY SYSTEM | 0.485027 | 0.485027 | 0.485027 | 0.242514 | 8819.49 | 17584.54 | 50.00 | 80.00 | 0.561699
DXFG EL1 G_W11 UNITARY SYSTEM | 0.083739 | 0.083739 | 0.083739 | 0.041870 | 1639.93 | 3035.92 | 50.00 | 80.00 | 0.476611
DXFG EL1 T_W37 UNITARY SYSTEM | 0.520435 | 0.520435 | 0.520435 | 0.260217 | 9458.30 | 18868.32 | 50.00 | 80.00 | 0.527798
DXFG EL2 G_WSW1 UNITARY SYSTEM | 0.076430 | 0.076430 | 0.076430 | 0.038215 | 1524.82 | 2770.90 | 50.00 | 80.00 | 0.651915
DXFG EL2 T_WSW27 UNITARY SYSTEM | 0.504399 | 0.504399 | 0.504399 | 0.252199 | 9224.35 | 18286.94 | 50.00 | 80.00 | 0.801067
DXFG EL2 G_S3 UNITARY SYSTEM | 0.066140 | 0.066140 | 0.066140 | 0.033070 | 1237.87 | 2397.83 | 50.00 | 80.00 | 0.596737
DXFG EL2 T_S29 UNITARY SYSTEM | 0.236160 | 0.236160 | 0.236160 | 0.118080 | 4428.31 | 8561.92 | 50.00 | 80.00 | 0.593903
DXFG EL2 G_S5 UNITARY SYSTEM | 0.084077 | 0.084077 | 0.084077 | 0.042039 | 1646.56 | 3048.18 | 50.00 | 80.00 | 0.474706
DXFG EL2 T_S31 UNITARY SYSTEM | 0.334025 | 0.334025 | 0.334025 | 0.167012 | 5921.81 | 12110.04 | 50.00 | 80.00 | 0.429693
DXFG EL2 G_N11 UNITARY SYSTEM | 0.084046 | 0.084046 | 0.084046 | 0.042023 | 1645.97 | 3047.05 | 50.00 | 80.00 | 0.474811
DXFG EL2 T_N37 UNITARY SYSTEM | 0.337327 | 0.337327 | 0.337327 | 0.168663 | 5977.04 | 12229.75 | 50.00 | 80.00 | 0.425293
DXFG EL2 G_N9 UNITARY SYSTEM | 0.066133 | 0.066133 | 0.066133 | 0.033067 | 1237.76 | 2397.59 | 50.00 | 80.00 | 0.596700
DXFG EL2 T_N35 UNITARY SYSTEM | 0.241424 | 0.241424 | 0.241424 | 0.120712 | 4435.56 | 8752.76 | 50.00 | 80.00 | 0.602756
DXFG EL2 G_WNW7 UNITARY SYSTEM | 0.076374 | 0.076374 | 0.076374 | 0.038187 | 1523.71 | 2768.88 | 50.00 | 80.00 | 0.651729
DXFG EL2 T_WNW33 UNITARY SYSTEM | 0.509470 | 0.509470 | 0.509470 | 0.254735 | 9249.97 | 18470.79 | 50.00 | 80.00 | 0.795508

## CZ09
0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
| Design Size Supply Air Flow Rate [m3/s] | Design Size Heating Supply Air Flow Rate [m3/s] | Design Size Cooling Supply Air Flow Rate [m3/s] | Design Size No Load Supply Air Flow Rate [m3/s] | Design Size Nominal Cooling Capacity [W] | Design Size Nominal Heating Capacity [W] | Design Size Maximum Supply Air Temperature [C] | User-Specified Maximum Supply Air Temperature [C] | Fraction of Supply Air Flow That Goes Through the Controlling Zone
DXFG EL1 G_SSE1 UNITARY SYSTEM | 0.106762 | 0.106762 | 0.106762 | 0.053381 | 2132.89 | 3636.03 | 50.00 | 80.00 | 0.666587
DXFG EL1 T_SSE27 UNITARY SYSTEM | 0.375339 | 0.375339 | 0.375339 | 0.187670 | 7372.64 | 12783.34 | 50.00 | 80.00 | 0.687165
DXFG EL1 G_E3 UNITARY SYSTEM | 0.084648 | 0.084648 | 0.084648 | 0.042324 | 1616.81 | 2882.87 | 50.00 | 80.00 | 0.582884
DXFG EL1 T_E29 UNITARY SYSTEM | 0.285465 | 0.285465 | 0.285465 | 0.142732 | 5636.16 | 9722.36 | 50.00 | 80.00 | 0.595049
DXFG EL1 G_E5 UNITARY SYSTEM | 0.111562 | 0.111562 | 0.111562 | 0.055781 | 2211.81 | 3799.53 | 50.00 | 80.00 | 0.447295
DXFG EL1 T_E31 UNITARY SYSTEM | 0.336832 | 0.336832 | 0.336832 | 0.168416 | 6751.14 | 11471.84 | 50.00 | 80.00 | 0.512059
DXFG EL1 G_SSW7 UNITARY SYSTEM | 0.106345 | 0.106345 | 0.106345 | 0.053173 | 2124.65 | 3621.83 | 50.00 | 80.00 | 0.667187
DXFG EL1 T_SSW33 UNITARY SYSTEM | 0.611511 | 0.611511 | 0.611511 | 0.305755 | 11678.75 | 20826.89 | 50.00 | 80.00 | 0.598185
DXFG EL1 G_W9 UNITARY SYSTEM | 0.084212 | 0.084212 | 0.084212 | 0.042106 | 1608.48 | 2868.02 | 50.00 | 80.00 | 0.583210
DXFG EL1 T_W35 UNITARY SYSTEM | 0.555813 | 0.555813 | 0.555813 | 0.277906 | 10610.76 | 18929.87 | 50.00 | 80.00 | 0.561296
DXFG EL1 G_W11 UNITARY SYSTEM | 0.111138 | 0.111138 | 0.111138 | 0.055569 | 2203.45 | 3785.10 | 50.00 | 80.00 | 0.447054
DXFG EL1 T_W37 UNITARY SYSTEM | 0.604397 | 0.604397 | 0.604397 | 0.302198 | 11538.24 | 20584.60 | 50.00 | 80.00 | 0.520436
DXFG EL2 G_WSW1 UNITARY SYSTEM | 0.106298 | 0.106298 | 0.106298 | 0.053149 | 2123.73 | 3620.23 | 50.00 | 80.00 | 0.667310
DXFG EL2 T_WSW27 UNITARY SYSTEM | 0.613299 | 0.613299 | 0.613299 | 0.306649 | 11733.14 | 20887.78 | 50.00 | 80.00 | 0.775559
DXFG EL2 G_S3 UNITARY SYSTEM | 0.084145 | 0.084145 | 0.084145 | 0.042072 | 1607.21 | 2865.74 | 50.00 | 80.00 | 0.583234
DXFG EL2 T_S29 UNITARY SYSTEM | 0.312737 | 0.312737 | 0.312737 | 0.156368 | 6052.47 | 10651.19 | 50.00 | 80.00 | 0.570546
DXFG EL2 G_S5 UNITARY SYSTEM | 0.111466 | 0.111466 | 0.111466 | 0.055733 | 2210.14 | 3796.29 | 50.00 | 80.00 | 0.445795
DXFG EL2 T_S31 UNITARY SYSTEM | 0.411653 | 0.411653 | 0.411653 | 0.205826 | 7531.23 | 14020.12 | 50.00 | 80.00 | 0.438397
DXFG EL2 G_N11 UNITARY SYSTEM | 0.111460 | 0.111460 | 0.111460 | 0.055730 | 2210.01 | 3796.07 | 50.00 | 80.00 | 0.445805
DXFG EL2 T_N37 UNITARY SYSTEM | 0.408558 | 0.408558 | 0.408558 | 0.204279 | 7598.13 | 13914.71 | 50.00 | 80.00 | 0.417947
DXFG EL2 G_N9 UNITARY SYSTEM | 0.084144 | 0.084144 | 0.084144 | 0.042072 | 1607.20 | 2865.72 | 50.00 | 80.00 | 0.583233
DXFG EL2 T_N35 UNITARY SYSTEM | 0.281842 | 0.281842 | 0.281842 | 0.140921 | 5527.70 | 9598.98 | 50.00 | 80.00 | 0.594030
DXFG EL2 G_WNW7 UNITARY SYSTEM | 0.106294 | 0.106294 | 0.106294 | 0.053147 | 2123.65 | 3620.09 | 50.00 | 80.00 | 0.667299
DXFG EL2 T_WNW33 UNITARY SYSTEM | 0.589014 | 0.589014 | 0.589014 | 0.294507 | 11244.69 | 20060.70 | 50.00 | 80.00 | 0.796108

## CZ10
0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
| Design Size Supply Air Flow Rate [m3/s] | Design Size Heating Supply Air Flow Rate [m3/s] | Design Size Cooling Supply Air Flow Rate [m3/s] | Design Size No Load Supply Air Flow Rate [m3/s] | Design Size Nominal Cooling Capacity [W] | Design Size Nominal Heating Capacity [W] | Design Size Maximum Supply Air Temperature [C] | User-Specified Maximum Supply Air Temperature [C] | Fraction of Supply Air Flow That Goes Through the Controlling Zone
DXFG EL1 G_SSE1 UNITARY SYSTEM | 0.108010 | 0.108010 | 0.108010 | 0.054005 | 2307.46 | 3807.04 | 50.00 | 80.00 | 0.697805
DXFG EL1 T_SSE27 UNITARY SYSTEM | 0.302603 | 0.302603 | 0.302603 | 0.151301 | 6283.69 | 10666.14 | 50.00 | 80.00 | 0.670628
DXFG EL1 G_E3 UNITARY SYSTEM | 0.074946 | 0.074946 | 0.074946 | 0.037473 | 1628.40 | 2641.61 | 50.00 | 80.00 | 0.569567
DXFG EL1 T_E29 UNITARY SYSTEM | 0.235539 | 0.235539 | 0.235539 | 0.117769 | 4914.92 | 8302.23 | 50.00 | 80.00 | 0.585555
DXFG EL1 G_E5 UNITARY SYSTEM | 0.109967 | 0.109967 | 0.109967 | 0.054983 | 2345.00 | 3876.05 | 50.00 | 80.00 | 0.394406
DXFG EL1 T_E31 UNITARY SYSTEM | 0.303117 | 0.303117 | 0.303117 | 0.151558 | 6293.90 | 10684.26 | 50.00 | 80.00 | 0.464927
DXFG EL1 G_SSW7 UNITARY SYSTEM | 0.107526 | 0.107526 | 0.107526 | 0.053763 | 2297.78 | 3789.96 | 50.00 | 80.00 | 0.698542
DXFG EL1 T_SSW33 UNITARY SYSTEM | 0.496349 | 0.496349 | 0.496349 | 0.248174 | 9733.12 | 17495.29 | 50.00 | 80.00 | 0.593814
DXFG EL1 G_W9 UNITARY SYSTEM | 0.074440 | 0.074440 | 0.074440 | 0.037220 | 1618.35 | 2623.78 | 50.00 | 80.00 | 0.569764
DXFG EL1 T_W35 UNITARY SYSTEM | 0.455018 | 0.455018 | 0.455018 | 0.227509 | 8909.64 | 16038.39 | 50.00 | 80.00 | 0.560581
DXFG EL1 G_W11 UNITARY SYSTEM | 0.109485 | 0.109485 | 0.109485 | 0.054743 | 2335.38 | 3859.08 | 50.00 | 80.00 | 0.393715
DXFG EL1 T_W37 UNITARY SYSTEM | 0.498048 | 0.498048 | 0.498048 | 0.249024 | 9761.17 | 17555.17 | 50.00 | 80.00 | 0.517009
DXFG EL2 G_WSW1 UNITARY SYSTEM | 0.107434 | 0.107434 | 0.107434 | 0.053717 | 2295.89 | 3786.73 | 50.00 | 80.00 | 0.698448
DXFG EL2 T_WSW27 UNITARY SYSTEM | 0.483752 | 0.483752 | 0.483752 | 0.241876 | 9596.09 | 17051.26 | 50.00 | 80.00 | 0.804049
DXFG EL2 G_S3 UNITARY SYSTEM | 0.074358 | 0.074358 | 0.074358 | 0.037179 | 1616.63 | 2620.87 | 50.00 | 80.00 | 0.569535
DXFG EL2 T_S29 UNITARY SYSTEM | 0.223968 | 0.223968 | 0.223968 | 0.111984 | 4680.62 | 7894.38 | 50.00 | 80.00 | 0.586745
DXFG EL2 G_S5 UNITARY SYSTEM | 0.109707 | 0.109707 | 0.109707 | 0.054854 | 2339.81 | 3866.90 | 50.00 | 80.00 | 0.393235
DXFG EL2 T_S31 UNITARY SYSTEM | 0.299603 | 0.299603 | 0.299603 | 0.149802 | 6222.91 | 10560.41 | 50.00 | 80.00 | 0.454628
DXFG EL2 G_N11 UNITARY SYSTEM | 0.109720 | 0.109720 | 0.109720 | 0.054860 | 2340.06 | 3867.34 | 50.00 | 80.00 | 0.393263
DXFG EL2 T_N37 UNITARY SYSTEM | 0.299941 | 0.299941 | 0.299941 | 0.149971 | 6229.78 | 10572.31 | 50.00 | 80.00 | 0.454564
DXFG EL2 G_N9 UNITARY SYSTEM | 0.074372 | 0.074372 | 0.074372 | 0.037186 | 1616.92 | 2621.38 | 50.00 | 80.00 | 0.569532
DXFG EL2 T_N35 UNITARY SYSTEM | 0.229778 | 0.229778 | 0.229778 | 0.114889 | 4618.54 | 8099.16 | 50.00 | 80.00 | 0.596807
DXFG EL2 G_WNW7 UNITARY SYSTEM | 0.107444 | 0.107444 | 0.107444 | 0.053722 | 2296.09 | 3787.09 | 50.00 | 80.00 | 0.698417
DXFG EL2 T_WNW33 UNITARY SYSTEM | 0.485472 | 0.485472 | 0.485472 | 0.242736 | 9629.26 | 17111.91 | 50.00 | 80.00 | 0.804567

## CZ11
0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
| Design Size Supply Air Flow Rate [m3/s] | Design Size Heating Supply Air Flow Rate [m3/s] | Design Size Cooling Supply Air Flow Rate [m3/s] | Design Size No Load Supply Air Flow Rate [m3/s] | Design Size Nominal Cooling Capacity [W] | Design Size Nominal Heating Capacity [W] | Design Size Maximum Supply Air Temperature [C] | User-Specified Maximum Supply Air Temperature [C] | Fraction of Supply Air Flow That Goes Through the Controlling Zone
DXFG EL1 G_SSE1 UNITARY SYSTEM | 0.133378 | 0.133378 | 0.133378 | 0.066689 | 2703.47 | 4870.56 | 50.00 | 80.00 | 0.692093
DXFG EL1 T_SSE27 UNITARY SYSTEM | 0.375013 | 0.375013 | 0.375013 | 0.187506 | 7490.66 | 13721.56 | 50.00 | 80.00 | 0.653363
DXFG EL1 G_E3 UNITARY SYSTEM | 0.101305 | 0.101305 | 0.101305 | 0.050652 | 1951.10 | 6052.39 | 50.00 | 80.00 | 0.599609
DXFG EL1 T_E29 UNITARY SYSTEM | 0.319234 | 0.319234 | 0.319234 | 0.159617 | 6078.99 | 11687.17 | 50.00 | 80.00 | 0.599870
DXFG EL1 G_E5 UNITARY SYSTEM | 0.141325 | 0.141325 | 0.141325 | 0.070663 | 2760.02 | 5161.00 | 50.00 | 80.00 | 0.435138
DXFG EL1 T_E31 UNITARY SYSTEM | 0.385895 | 0.385895 | 0.385895 | 0.192947 | 7546.01 | 14121.80 | 50.00 | 80.00 | 0.502697
DXFG EL1 G_SSW7 UNITARY SYSTEM | 0.132873 | 0.132873 | 0.132873 | 0.066436 | 2693.24 | 4852.12 | 50.00 | 80.00 | 0.692862
DXFG EL1 T_SSW33 UNITARY SYSTEM | 0.601318 | 0.601318 | 0.601318 | 0.300659 | 11179.71 | 22001.97 | 50.00 | 80.00 | 0.610827
DXFG EL1 G_W9 UNITARY SYSTEM | 0.102215 | 0.102215 | 0.102215 | 0.051108 | 1936.45 | 6106.78 | 50.00 | 80.00 | 0.592103
DXFG EL1 T_W35 UNITARY SYSTEM | 0.539203 | 0.539203 | 0.539203 | 0.269602 | 10024.81 | 19740.28 | 50.00 | 80.00 | 0.569980
DXFG EL1 G_W11 UNITARY SYSTEM | 0.140888 | 0.140888 | 0.140888 | 0.070444 | 2751.51 | 5145.02 | 50.00 | 80.00 | 0.435016
DXFG EL1 T_W37 UNITARY SYSTEM | 0.602338 | 0.602338 | 0.602338 | 0.301169 | 11198.77 | 22042.53 | 50.00 | 80.00 | 0.515498
DXFG EL2 G_WSW1 UNITARY SYSTEM | 0.132992 | 0.132992 | 0.132992 | 0.066496 | 2695.65 | 4856.47 | 50.00 | 80.00 | 0.692654
DXFG EL2 T_WSW27 UNITARY SYSTEM | 0.586156 | 0.586156 | 0.586156 | 0.293078 | 10922.95 | 21447.20 | 50.00 | 80.00 | 0.771058
DXFG EL2 G_S3 UNITARY SYSTEM | 0.100924 | 0.100924 | 0.100924 | 0.050462 | 1943.69 | 6029.62 | 50.00 | 80.00 | 0.600121
DXFG EL2 T_S29 UNITARY SYSTEM | 0.317556 | 0.317556 | 0.317556 | 0.158778 | 5993.31 | 11625.75 | 50.00 | 80.00 | 0.598590
DXFG EL2 G_S5 UNITARY SYSTEM | 0.141233 | 0.141233 | 0.141233 | 0.070616 | 2758.35 | 5157.62 | 50.00 | 80.00 | 0.434561
DXFG EL2 T_S31 UNITARY SYSTEM | 0.401006 | 0.401006 | 0.401006 | 0.200503 | 7096.73 | 14674.77 | 50.00 | 80.00 | 0.481654
DXFG EL2 G_N11 UNITARY SYSTEM | 0.141101 | 0.141101 | 0.141101 | 0.070551 | 2755.79 | 5152.80 | 50.00 | 80.00 | 0.434507
DXFG EL2 T_N37 UNITARY SYSTEM | 0.412121 | 0.412121 | 0.412121 | 0.206061 | 7283.11 | 15081.54 | 50.00 | 80.00 | 0.468624
DXFG EL2 G_N9 UNITARY SYSTEM | 0.100795 | 0.100795 | 0.100795 | 0.050397 | 1941.18 | 6021.92 | 50.00 | 80.00 | 0.600255
DXFG EL2 T_N35 UNITARY SYSTEM | 0.317456 | 0.317456 | 0.317456 | 0.158728 | 5991.40 | 11622.09 | 50.00 | 80.00 | 0.598672
DXFG EL2 G_WNW7 UNITARY SYSTEM | 0.132871 | 0.132871 | 0.132871 | 0.066435 | 2693.20 | 4852.04 | 50.00 | 80.00 | 0.692869
DXFG EL2 T_WNW33 UNITARY SYSTEM | 0.587853 | 0.587853 | 0.587853 | 0.293926 | 10966.80 | 21509.29 | 50.00 | 80.00 | 0.772774

## CZ12
0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
| Design Size Supply Air Flow Rate [m3/s] | Design Size Heating Supply Air Flow Rate [m3/s] | Design Size Cooling Supply Air Flow Rate [m3/s] | Design Size No Load Supply Air Flow Rate [m3/s] | Design Size Nominal Cooling Capacity [W] | Design Size Nominal Heating Capacity [W] | Design Size Maximum Supply Air Temperature [C] | User-Specified Maximum Supply Air Temperature [C] | Fraction of Supply Air Flow That Goes Through the Controlling Zone
DXFG EL1 G_SSE1 UNITARY SYSTEM | 0.080118 | 0.080118 | 0.080118 | 0.040059 | 1793.74 | 3020.69 | 50.00 | 80.00 | 0.683709
DXFG EL1 T_SSE27 UNITARY SYSTEM | 0.286380 | 0.286380 | 0.286380 | 0.143190 | 6455.14 | 10598.63 | 50.00 | 80.00 | 0.664244
DXFG EL1 G_E3 UNITARY SYSTEM | 0.059485 | 0.059485 | 0.059485 | 0.029743 | 1424.36 | 2205.92 | 50.00 | 80.00 | 0.585683
DXFG EL1 T_E29 UNITARY SYSTEM | 0.226938 | 0.226938 | 0.226938 | 0.113469 | 5130.08 | 8403.07 | 50.00 | 80.00 | 0.591399
DXFG EL1 G_E5 UNITARY SYSTEM | 0.083129 | 0.083129 | 0.083129 | 0.041565 | 1910.17 | 3096.88 | 50.00 | 80.00 | 0.432757
DXFG EL1 T_E31 UNITARY SYSTEM | 0.287710 | 0.287710 | 0.287710 | 0.143855 | 6475.46 | 10643.37 | 50.00 | 80.00 | 0.483630
DXFG EL1 G_SSW7 UNITARY SYSTEM | 0.079678 | 0.079678 | 0.079678 | 0.039839 | 1783.89 | 3004.01 | 50.00 | 80.00 | 0.684407
DXFG EL1 T_SSW33 UNITARY SYSTEM | 0.444134 | 0.444134 | 0.444134 | 0.222067 | 9498.42 | 16437.00 | 50.00 | 80.00 | 0.595865
DXFG EL1 G_W9 UNITARY SYSTEM | 0.059012 | 0.059012 | 0.059012 | 0.029506 | 1412.47 | 2188.38 | 50.00 | 80.00 | 0.586157
DXFG EL1 T_W35 UNITARY SYSTEM | 0.408401 | 0.408401 | 0.408401 | 0.204200 | 8725.45 | 15122.35 | 50.00 | 80.00 | 0.566837
DXFG EL1 G_W11 UNITARY SYSTEM | 0.082662 | 0.082662 | 0.082662 | 0.041331 | 1898.44 | 3079.57 | 50.00 | 80.00 | 0.432230
DXFG EL1 T_W37 UNITARY SYSTEM | 0.454477 | 0.454477 | 0.454477 | 0.227239 | 9649.04 | 16812.69 | 50.00 | 80.00 | 0.517949
DXFG EL2 G_WSW1 UNITARY SYSTEM | 0.079622 | 0.079622 | 0.079622 | 0.039811 | 1782.82 | 3002.12 | 50.00 | 80.00 | 0.685411
DXFG EL2 T_WSW27 UNITARY SYSTEM | 0.433723 | 0.433723 | 0.433723 | 0.216861 | 9311.24 | 16051.69 | 50.00 | 80.00 | 0.783388
DXFG EL2 G_S3 UNITARY SYSTEM | 0.058763 | 0.058763 | 0.058763 | 0.029381 | 1406.75 | 2179.12 | 50.00 | 80.00 | 0.586386
DXFG EL2 T_S29 UNITARY SYSTEM | 0.221003 | 0.221003 | 0.221003 | 0.110502 | 4978.89 | 8183.34 | 50.00 | 80.00 | 0.593112
DXFG EL2 G_S5 UNITARY SYSTEM | 0.082846 | 0.082846 | 0.082846 | 0.041423 | 1902.34 | 3086.32 | 50.00 | 80.00 | 0.430789
DXFG EL2 T_S31 UNITARY SYSTEM | 0.304509 | 0.304509 | 0.304509 | 0.152254 | 6377.90 | 11264.81 | 50.00 | 80.00 | 0.449206
DXFG EL2 G_N11 UNITARY SYSTEM | 0.083024 | 0.083024 | 0.083024 | 0.041512 | 1906.34 | 3092.95 | 50.00 | 80.00 | 0.430991
DXFG EL2 T_N37 UNITARY SYSTEM | 0.305813 | 0.305813 | 0.305813 | 0.152906 | 6394.87 | 11313.05 | 50.00 | 80.00 | 0.448499
DXFG EL2 G_N9 UNITARY SYSTEM | 0.058984 | 0.058984 | 0.058984 | 0.029492 | 1411.79 | 2187.35 | 50.00 | 80.00 | 0.585865
DXFG EL2 T_N35 UNITARY SYSTEM | 0.221746 | 0.221746 | 0.221746 | 0.110873 | 5001.65 | 8210.85 | 50.00 | 80.00 | 0.592885
DXFG EL2 G_WNW7 UNITARY SYSTEM | 0.079765 | 0.079765 | 0.079765 | 0.039883 | 1785.98 | 3007.51 | 50.00 | 80.00 | 0.684843
DXFG EL2 T_WNW33 UNITARY SYSTEM | 0.446765 | 0.446765 | 0.446765 | 0.223383 | 9479.41 | 16534.38 | 50.00 | 80.00 | 0.781568

## CZ13
0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
| Design Size Supply Air Flow Rate [m3/s] | Design Size Heating Supply Air Flow Rate [m3/s] | Design Size Cooling Supply Air Flow Rate [m3/s] | Design Size No Load Supply Air Flow Rate [m3/s] | Design Size Nominal Cooling Capacity [W] | Design Size Nominal Heating Capacity [W] | Design Size Maximum Supply Air Temperature [C] | User-Specified Maximum Supply Air Temperature [C] | Fraction of Supply Air Flow That Goes Through the Controlling Zone
DXFG EL1 G_SSE1 UNITARY SYSTEM | 0.194602 | 0.194602 | 0.194602 | 0.097301 | 3807.99 | 6983.13 | 50.00 | 80.00 | 0.671092
DXFG EL1 T_SSE27 UNITARY SYSTEM | 0.461106 | 0.461106 | 0.461106 | 0.230553 | 8823.19 | 16546.61 | 50.00 | 80.00 | 0.654295
DXFG EL1 G_E3 UNITARY SYSTEM | 0.148796 | 0.148796 | 0.148796 | 0.074398 | 2941.24 | 5339.33 | 50.00 | 80.00 | 0.574819
DXFG EL1 T_E29 UNITARY SYSTEM | 0.380213 | 0.380213 | 0.380213 | 0.190107 | 7304.51 | 13643.67 | 50.00 | 80.00 | 0.587519
DXFG EL1 G_E5 UNITARY SYSTEM | 0.196297 | 0.196297 | 0.196297 | 0.098149 | 3837.40 | 7043.98 | 50.00 | 80.00 | 0.441556
DXFG EL1 T_E31 UNITARY SYSTEM | 0.461838 | 0.461838 | 0.461838 | 0.230919 | 8836.19 | 16572.88 | 50.00 | 80.00 | 0.491859
DXFG EL1 G_SSW7 UNITARY SYSTEM | 0.194464 | 0.194464 | 0.194464 | 0.097232 | 3805.40 | 6978.19 | 50.00 | 80.00 | 0.671212
DXFG EL1 T_SSW33 UNITARY SYSTEM | 0.643751 | 0.643751 | 0.643751 | 0.321876 | 12157.82 | 23100.79 | 50.00 | 80.00 | 0.606164
DXFG EL1 G_W9 UNITARY SYSTEM | 0.148589 | 0.148589 | 0.148589 | 0.074295 | 2937.34 | 5331.91 | 50.00 | 80.00 | 0.574771
DXFG EL1 T_W35 UNITARY SYSTEM | 0.575304 | 0.575304 | 0.575304 | 0.287652 | 10774.66 | 20644.39 | 50.00 | 80.00 | 0.563134
DXFG EL1 G_W11 UNITARY SYSTEM | 0.196232 | 0.196232 | 0.196232 | 0.098116 | 3836.20 | 7041.64 | 50.00 | 80.00 | 0.441501
DXFG EL1 T_W37 UNITARY SYSTEM | 0.643893 | 0.643893 | 0.643893 | 0.321946 | 12056.40 | 23105.85 | 50.00 | 80.00 | 0.508152
DXFG EL2 G_WSW1 UNITARY SYSTEM | 0.194428 | 0.194428 | 0.194428 | 0.097214 | 3804.70 | 6976.89 | 50.00 | 80.00 | 0.671831
DXFG EL2 T_WSW27 UNITARY SYSTEM | 0.653099 | 0.653099 | 0.653099 | 0.326549 | 12260.94 | 23436.21 | 50.00 | 80.00 | 0.756648
DXFG EL2 G_S3 UNITARY SYSTEM | 0.148331 | 0.148331 | 0.148331 | 0.074166 | 2932.43 | 5322.66 | 50.00 | 80.00 | 0.574933
DXFG EL2 T_S29 UNITARY SYSTEM | 0.375356 | 0.375356 | 0.375356 | 0.187678 | 7213.31 | 13469.40 | 50.00 | 80.00 | 0.587762
DXFG EL2 G_S5 UNITARY SYSTEM | 0.195946 | 0.195946 | 0.195946 | 0.097973 | 3830.77 | 7031.39 | 50.00 | 80.00 | 0.441448
DXFG EL2 T_S31 UNITARY SYSTEM | 0.459931 | 0.459931 | 0.459931 | 0.229966 | 8800.40 | 16504.46 | 50.00 | 80.00 | 0.489541
DXFG EL2 G_N11 UNITARY SYSTEM | 0.196243 | 0.196243 | 0.196243 | 0.098122 | 3836.43 | 7042.06 | 50.00 | 80.00 | 0.441712
DXFG EL2 T_N37 UNITARY SYSTEM | 0.460697 | 0.460697 | 0.460697 | 0.230349 | 8814.76 | 16531.94 | 50.00 | 80.00 | 0.489332
DXFG EL2 G_N9 UNITARY SYSTEM | 0.148571 | 0.148571 | 0.148571 | 0.074286 | 2937.00 | 5331.28 | 50.00 | 80.00 | 0.574786
DXFG EL2 T_N35 UNITARY SYSTEM | 0.375914 | 0.375914 | 0.375914 | 0.187957 | 7223.78 | 13489.39 | 50.00 | 80.00 | 0.587602
DXFG EL2 G_WNW7 UNITARY SYSTEM | 0.194659 | 0.194659 | 0.194659 | 0.097329 | 3809.08 | 6985.19 | 50.00 | 80.00 | 0.671588
DXFG EL2 T_WNW33 UNITARY SYSTEM | 0.659108 | 0.659108 | 0.659108 | 0.329554 | 12370.77 | 23651.85 | 50.00 | 80.00 | 0.758442

## CZ14
0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
| Design Size Supply Air Flow Rate [m3/s] | Design Size Heating Supply Air Flow Rate [m3/s] | Design Size Cooling Supply Air Flow Rate [m3/s] | Design Size No Load Supply Air Flow Rate [m3/s] | Design Size Nominal Cooling Capacity [W] | Design Size Nominal Heating Capacity [W] | Design Size Maximum Supply Air Temperature [C] | User-Specified Maximum Supply Air Temperature [C] | Fraction of Supply Air Flow That Goes Through the Controlling Zone
DXFG EL1 G_SSE1 UNITARY SYSTEM | 0.138395 | 0.138395 | 0.138395 | 0.069197 | 3032.02 | 4684.13 | 50.00 | 80.00 | 0.713622
DXFG EL1 T_SSE27 UNITARY SYSTEM | 0.327984 | 0.327984 | 0.327984 | 0.163992 | 7168.89 | 11101.24 | 50.00 | 80.00 | 0.682259
DXFG EL1 G_E3 UNITARY SYSTEM | 0.090138 | 0.090138 | 0.090138 | 0.045069 | 1975.23 | 5084.42 | 50.00 | 80.00 | 0.567127
DXFG EL1 T_E29 UNITARY SYSTEM | 0.245915 | 0.245915 | 0.245915 | 0.122958 | 5357.11 | 8323.43 | 50.00 | 80.00 | 0.586331
DXFG EL1 G_E5 UNITARY SYSTEM | 0.140973 | 0.140973 | 0.140973 | 0.070487 | 3088.56 | 4771.55 | 50.00 | 80.00 | 0.369833
DXFG EL1 T_E31 UNITARY SYSTEM | 0.329664 | 0.329664 | 0.329664 | 0.164832 | 7199.93 | 11158.13 | 50.00 | 80.00 | 0.448405
DXFG EL1 G_SSW7 UNITARY SYSTEM | 0.138385 | 0.138385 | 0.138385 | 0.069192 | 3031.81 | 4683.79 | 50.00 | 80.00 | 0.713373
DXFG EL1 T_SSW33 UNITARY SYSTEM | 0.497221 | 0.497221 | 0.497221 | 0.248610 | 10488.17 | 16829.37 | 50.00 | 80.00 | 0.605681
DXFG EL1 G_W9 UNITARY SYSTEM | 0.090177 | 0.090177 | 0.090177 | 0.045088 | 1976.09 | 5086.61 | 50.00 | 80.00 | 0.566976
DXFG EL1 T_W35 UNITARY SYSTEM | 0.441954 | 0.441954 | 0.441954 | 0.220977 | 9303.77 | 14958.70 | 50.00 | 80.00 | 0.560848
DXFG EL1 G_W11 UNITARY SYSTEM | 0.140993 | 0.140993 | 0.140993 | 0.070496 | 3088.98 | 4772.20 | 50.00 | 80.00 | 0.369865
DXFG EL1 T_W37 UNITARY SYSTEM | 0.502343 | 0.502343 | 0.502343 | 0.251171 | 10566.23 | 17002.80 | 50.00 | 80.00 | 0.499226
DXFG EL2 G_WSW1 UNITARY SYSTEM | 0.138341 | 0.138341 | 0.138341 | 0.069170 | 3030.84 | 4682.30 | 50.00 | 80.00 | 0.714517
DXFG EL2 T_WSW27 UNITARY SYSTEM | 0.493780 | 0.493780 | 0.493780 | 0.246890 | 10478.69 | 16712.91 | 50.00 | 80.00 | 0.792352
DXFG EL2 G_S3 UNITARY SYSTEM | 0.089829 | 0.089829 | 0.089829 | 0.044914 | 1968.47 | 5066.99 | 50.00 | 80.00 | 0.567215
DXFG EL2 T_S29 UNITARY SYSTEM | 0.241993 | 0.241993 | 0.241993 | 0.120996 | 5263.80 | 8190.65 | 50.00 | 80.00 | 0.586825
DXFG EL2 G_S5 UNITARY SYSTEM | 0.140636 | 0.140636 | 0.140636 | 0.070318 | 3081.17 | 4760.11 | 50.00 | 80.00 | 0.369839
DXFG EL2 T_S31 UNITARY SYSTEM | 0.339481 | 0.339481 | 0.339481 | 0.169740 | 6831.25 | 11490.41 | 50.00 | 80.00 | 0.430559
DXFG EL2 G_N11 UNITARY SYSTEM | 0.140947 | 0.140947 | 0.140947 | 0.070474 | 3088.00 | 4770.67 | 50.00 | 80.00 | 0.370076
DXFG EL2 T_N37 UNITARY SYSTEM | 0.347016 | 0.347016 | 0.347016 | 0.173508 | 6965.22 | 11745.46 | 50.00 | 80.00 | 0.422179
DXFG EL2 G_N9 UNITARY SYSTEM | 0.090154 | 0.090154 | 0.090154 | 0.045077 | 1975.60 | 5085.34 | 50.00 | 80.00 | 0.566830
DXFG EL2 T_N35 UNITARY SYSTEM | 0.242722 | 0.242722 | 0.242722 | 0.121361 | 5279.67 | 8215.34 | 50.00 | 80.00 | 0.586411
DXFG EL2 G_WNW7 UNITARY SYSTEM | 0.138654 | 0.138654 | 0.138654 | 0.069327 | 3037.71 | 4692.91 | 50.00 | 80.00 | 0.713896
DXFG EL2 T_WNW33 UNITARY SYSTEM | 0.500662 | 0.500662 | 0.500662 | 0.250331 | 10609.92 | 16945.86 | 50.00 | 80.00 | 0.794409

## CZ15
0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
| Design Size Supply Air Flow Rate [m3/s] | Design Size Heating Supply Air Flow Rate [m3/s] | Design Size Cooling Supply Air Flow Rate [m3/s] | Design Size No Load Supply Air Flow Rate [m3/s] | Design Size Nominal Cooling Capacity [W] | Design Size Nominal Heating Capacity [W] | Design Size Maximum Supply Air Temperature [C] | User-Specified Maximum Supply Air Temperature [C] | Fraction of Supply Air Flow That Goes Through the Controlling Zone
DXFG EL1 G_SSE1 UNITARY SYSTEM | 0.180110 | 0.180110 | 0.180110 | 0.090055 | 3898.62 | 6427.10 | 50.00 | 80.00 | 0.680331
DXFG EL1 T_SSE27 UNITARY SYSTEM | 0.436517 | 0.436517 | 0.436517 | 0.218259 | 9314.27 | 15576.84 | 50.00 | 80.00 | 0.656682
DXFG EL1 G_E3 UNITARY SYSTEM | 0.137376 | 0.137376 | 0.137376 | 0.068688 | 2740.87 | 4902.08 | 50.00 | 80.00 | 0.586593
DXFG EL1 T_E29 UNITARY SYSTEM | 0.363176 | 0.363176 | 0.363176 | 0.181588 | 7489.63 | 12959.65 | 50.00 | 80.00 | 0.594183
DXFG EL1 G_E5 UNITARY SYSTEM | 0.189116 | 0.189116 | 0.189116 | 0.094558 | 3982.49 | 6748.46 | 50.00 | 80.00 | 0.431993
DXFG EL1 T_E31 UNITARY SYSTEM | 0.444186 | 0.444186 | 0.444186 | 0.222093 | 9381.29 | 15850.52 | 50.00 | 80.00 | 0.493853
DXFG EL1 G_SSW7 UNITARY SYSTEM | 0.179904 | 0.179904 | 0.179904 | 0.089952 | 3894.21 | 6419.72 | 50.00 | 80.00 | 0.680567
DXFG EL1 T_SSW33 UNITARY SYSTEM | 0.679297 | 0.679297 | 0.679297 | 0.339648 | 13479.19 | 24240.28 | 50.00 | 80.00 | 0.611940
DXFG EL1 G_W9 UNITARY SYSTEM | 0.137185 | 0.137185 | 0.137185 | 0.068593 | 2737.04 | 4895.27 | 50.00 | 80.00 | 0.586849
DXFG EL1 T_W35 UNITARY SYSTEM | 0.605535 | 0.605535 | 0.605535 | 0.302767 | 11979.75 | 21608.07 | 50.00 | 80.00 | 0.568397
DXFG EL1 G_W11 UNITARY SYSTEM | 0.188899 | 0.188899 | 0.188899 | 0.094450 | 3977.87 | 6740.73 | 50.00 | 80.00 | 0.432119
DXFG EL1 T_W37 UNITARY SYSTEM | 0.690665 | 0.690665 | 0.690665 | 0.345332 | 13598.24 | 24646.00 | 50.00 | 80.00 | 0.503145
DXFG EL2 G_WSW1 UNITARY SYSTEM | 0.179805 | 0.179805 | 0.179805 | 0.089903 | 3892.01 | 6416.21 | 50.00 | 80.00 | 0.680337
DXFG EL2 T_WSW27 UNITARY SYSTEM | 0.663892 | 0.663892 | 0.663892 | 0.331946 | 13238.15 | 23690.58 | 50.00 | 80.00 | 0.769388
DXFG EL2 G_S3 UNITARY SYSTEM | 0.137170 | 0.137170 | 0.137170 | 0.068585 | 2736.76 | 4894.75 | 50.00 | 80.00 | 0.586733
DXFG EL2 T_S29 UNITARY SYSTEM | 0.362834 | 0.362834 | 0.362834 | 0.181417 | 7425.72 | 12947.47 | 50.00 | 80.00 | 0.590588
DXFG EL2 G_S5 UNITARY SYSTEM | 0.189092 | 0.189092 | 0.189092 | 0.094546 | 3982.14 | 6747.60 | 50.00 | 80.00 | 0.431677
DXFG EL2 T_S31 UNITARY SYSTEM | 0.474677 | 0.474677 | 0.474677 | 0.237338 | 9003.00 | 16938.58 | 50.00 | 80.00 | 0.459771
DXFG EL2 G_N11 UNITARY SYSTEM | 0.189112 | 0.189112 | 0.189112 | 0.094556 | 3982.56 | 6748.33 | 50.00 | 80.00 | 0.431695
DXFG EL2 T_N37 UNITARY SYSTEM | 0.493959 | 0.493959 | 0.493959 | 0.246980 | 9190.68 | 17626.67 | 50.00 | 80.00 | 0.463142
DXFG EL2 G_N9 UNITARY SYSTEM | 0.137188 | 0.137188 | 0.137188 | 0.068594 | 2737.10 | 4895.37 | 50.00 | 80.00 | 0.586747
DXFG EL2 T_N35 UNITARY SYSTEM | 0.379441 | 0.379441 | 0.379441 | 0.189721 | 7433.80 | 13540.08 | 50.00 | 80.00 | 0.593406
DXFG EL2 G_WNW7 UNITARY SYSTEM | 0.179817 | 0.179817 | 0.179817 | 0.089909 | 3892.27 | 6416.64 | 50.00 | 80.00 | 0.680331
DXFG EL2 T_WNW33 UNITARY SYSTEM | 0.681251 | 0.681251 | 0.681251 | 0.340625 | 13397.13 | 24310.01 | 50.00 | 80.00 | 0.764161

## CZ16
0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
| Design Size Supply Air Flow Rate [m3/s] | Design Size Heating Supply Air Flow Rate [m3/s] | Design Size Cooling Supply Air Flow Rate [m3/s] | Design Size No Load Supply Air Flow Rate [m3/s] | Design Size Nominal Cooling Capacity [W] | Design Size Nominal Heating Capacity [W] | Design Size Maximum Supply Air Temperature [C] | User-Specified Maximum Supply Air Temperature [C] | Fraction of Supply Air Flow That Goes Through the Controlling Zone
DXFG EL1 G_SSE1 UNITARY SYSTEM | 0.140071 | 0.140071 | 0.140071 | 0.070036 | 2569.68 | 4773.86 | 50.00 | 80.00 | 0.694701
DXFG EL1 T_SSE27 UNITARY SYSTEM | 0.430835 | 0.430835 | 0.430835 | 0.215418 | 7644.69 | 14683.81 | 50.00 | 80.00 | 0.653105
DXFG EL1 G_E3 UNITARY SYSTEM | 0.101923 | 0.101923 | 0.101923 | 0.050961 | 1779.92 | 3473.64 | 50.00 | 80.00 | 0.583685
DXFG EL1 T_E29 UNITARY SYSTEM | 0.359235 | 0.359235 | 0.359235 | 0.179618 | 6186.63 | 12243.42 | 50.00 | 80.00 | 0.590889
DXFG EL1 G_E5 UNITARY SYSTEM | 0.145816 | 0.145816 | 0.145816 | 0.072908 | 2652.84 | 4969.67 | 50.00 | 80.00 | 0.414037
DXFG EL1 T_E31 UNITARY SYSTEM | 0.434319 | 0.434319 | 0.434319 | 0.217160 | 7727.31 | 14802.54 | 50.00 | 80.00 | 0.497277
DXFG EL1 G_SSW7 UNITARY SYSTEM | 0.139350 | 0.139350 | 0.139350 | 0.069675 | 2552.66 | 4749.28 | 50.00 | 80.00 | 0.695039
DXFG EL1 T_SSW33 UNITARY SYSTEM | 0.738445 | 0.738445 | 0.738445 | 0.369222 | 12223.88 | 25167.81 | 50.00 | 80.00 | 0.599767
DXFG EL1 G_W9 UNITARY SYSTEM | 0.101023 | 0.101023 | 0.101023 | 0.050511 | 1764.17 | 3442.96 | 50.00 | 80.00 | 0.584285
DXFG EL1 T_W35 UNITARY SYSTEM | 0.673532 | 0.673532 | 0.673532 | 0.336766 | 11149.35 | 22955.28 | 50.00 | 80.00 | 0.564628
DXFG EL1 G_W11 UNITARY SYSTEM | 0.144947 | 0.144947 | 0.144947 | 0.072474 | 2637.19 | 4940.08 | 50.00 | 80.00 | 0.413516
DXFG EL1 T_W37 UNITARY SYSTEM | 0.744805 | 0.744805 | 0.744805 | 0.372402 | 12329.16 | 25384.54 | 50.00 | 80.00 | 0.515299
DXFG EL2 G_WSW1 UNITARY SYSTEM | 0.139241 | 0.139241 | 0.139241 | 0.069620 | 2550.59 | 4745.56 | 50.00 | 80.00 | 0.694421
DXFG EL2 T_WSW27 UNITARY SYSTEM | 0.715281 | 0.715281 | 0.715281 | 0.357641 | 11845.92 | 24378.35 | 50.00 | 80.00 | 0.792741
DXFG EL2 G_S3 UNITARY SYSTEM | 0.101114 | 0.101114 | 0.101114 | 0.050557 | 1765.78 | 3446.08 | 50.00 | 80.00 | 0.584154
DXFG EL2 T_S29 UNITARY SYSTEM | 0.350861 | 0.350861 | 0.350861 | 0.175431 | 6042.51 | 11958.02 | 50.00 | 80.00 | 0.591452
DXFG EL2 G_S5 UNITARY SYSTEM | 0.145661 | 0.145661 | 0.145661 | 0.072831 | 2650.43 | 4964.41 | 50.00 | 80.00 | 0.412397
DXFG EL2 T_S31 UNITARY SYSTEM | 0.432017 | 0.432017 | 0.432017 | 0.216009 | 7689.05 | 14724.08 | 50.00 | 80.00 | 0.491923
DXFG EL2 G_N11 UNITARY SYSTEM | 0.145579 | 0.145579 | 0.145579 | 0.072789 | 2648.94 | 4961.60 | 50.00 | 80.00 | 0.412364
DXFG EL2 T_N37 UNITARY SYSTEM | 0.432519 | 0.432519 | 0.432519 | 0.216259 | 7697.96 | 14741.17 | 50.00 | 80.00 | 0.491935
DXFG EL2 G_N9 UNITARY SYSTEM | 0.101046 | 0.101046 | 0.101046 | 0.050523 | 1764.58 | 3443.76 | 50.00 | 80.00 | 0.584257
DXFG EL2 T_N35 UNITARY SYSTEM | 0.359075 | 0.359075 | 0.359075 | 0.179538 | 6005.18 | 12237.97 | 50.00 | 80.00 | 0.600296
DXFG EL2 G_WNW7 UNITARY SYSTEM | 0.139185 | 0.139185 | 0.139185 | 0.069593 | 2549.59 | 4743.67 | 50.00 | 80.00 | 0.694592
DXFG EL2 T_WNW33 UNITARY SYSTEM | 0.723729 | 0.723729 | 0.723729 | 0.361865 | 11984.46 | 24666.27 | 50.00 | 80.00 | 0.794926