## CZ01
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 309.417 | 10.244 | 10.244
February | 0.000 | 0.000 | 405.750 | 16.076 | 16.076
March | 5.783 | 0.477 | 178.598 | 4.617 | 5.094
April | 0.000 | 0.000 | 275.111 | 9.115 | 9.115
May | 0.000 | 0.000 | 121.083 | 2.455 | 2.455
June | 26.772 | 1.464 | 48.899 | 0.511 | 1.975
July | 0.000 | 0.000 | 19.040 | 0.229 | 0.229
August | 26.619 | 2.522 | 13.383 | 0.161 | 2.683
September | 17.972 | 1.378 | 106.700 | 1.589 | 2.967
October | 19.005 | 1.320 | 144.446 | 3.451 | 4.771
November | 0.000 | 0.000 | 287.354 | 8.194 | 8.194
December | 0.000 | 0.000 | 362.333 | 13.507 | 13.507
Annual Sum or Average | 96.152 | 7.161 | 2272.116 | 70.151 | 77.311
Minimum of Months | 0.000 | 0.000 | 13.383 | 0.161 | 0.229
Maximum of Months | 26.772 | 2.522 | 405.750 | 16.076 | 16.076

## CZ02
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 630.333 | 28.796 | 28.796
February | 0.000 | 0.000 | 458.889 | 23.768 | 23.768
March | 0.000 | 0.000 | 354.375 | 12.030 | 12.030
April | 0.000 | 0.000 | 328.972 | 12.604 | 12.604
May | 16.236 | 1.322 | 37.403 | 0.879 | 2.201
June | 99.508 | 11.438 | 0.000 | 0.000 | 11.438
July | 71.931 | 7.228 | 0.000 | 0.000 | 7.228
August | 102.028 | 10.689 | 0.000 | 0.000 | 10.689
September | 67.444 | 6.267 | 0.000 | 0.000 | 6.267
October | 23.319 | 3.421 | 97.233 | 1.992 | 5.413
November | 0.000 | 0.000 | 367.722 | 16.791 | 16.791
December | 0.000 | 0.000 | 610.194 | 28.416 | 28.416
Annual Sum or Average | 380.466 | 40.365 | 2885.122 | 125.275 | 165.641
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 2.201
Maximum of Months | 102.028 | 11.438 | 630.333 | 28.796 | 28.796

## CZ03
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 590.750 | 23.954 | 23.954
February | 2.000 | 0.018 | 444.750 | 18.708 | 18.726
March | 50.573 | 2.426 | 234.758 | 5.181 | 7.606
April | 20.242 | 1.278 | 320.757 | 9.339 | 10.617
May | 85.910 | 10.998 | 34.245 | 0.521 | 11.519
June | 108.028 | 14.308 | 0.000 | 0.000 | 14.308
July | 92.851 | 9.948 | 51.473 | 0.553 | 10.500
August | 120.801 | 14.157 | 20.150 | 0.208 | 14.365
September | 88.732 | 9.763 | 16.250 | 0.194 | 9.957
October | 89.003 | 11.172 | 47.727 | 0.652 | 11.824
November | 20.161 | 0.653 | 334.736 | 11.224 | 11.876
December | 0.000 | 0.000 | 530.722 | 22.606 | 22.606
Annual Sum or Average | 678.301 | 74.721 | 2626.320 | 93.139 | 167.860
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 7.606
Maximum of Months | 120.801 | 14.308 | 590.750 | 23.954 | 23.954

## CZ04
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 564.333 | 22.361 | 22.361
February | 0.000 | 0.000 | 426.733 | 18.460 | 18.460
March | 12.975 | 0.467 | 241.690 | 6.187 | 6.655
April | 10.279 | 0.662 | 293.756 | 9.127 | 9.789
May | 83.843 | 9.433 | 29.095 | 0.351 | 9.784
June | 91.450 | 10.797 | 0.000 | 0.000 | 10.797
July | 132.401 | 14.696 | 0.000 | 0.000 | 14.696
August | 151.236 | 18.709 | 0.000 | 0.000 | 18.709
September | 97.611 | 8.036 | 0.000 | 0.000 | 8.036
October | 40.711 | 5.067 | 130.217 | 2.386 | 7.453
November | 5.062 | 0.146 | 282.456 | 8.352 | 8.498
December | 0.000 | 0.000 | 511.306 | 20.574 | 20.574
Annual Sum or Average | 625.567 | 68.013 | 2479.587 | 87.799 | 155.812
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 6.655
Maximum of Months | 151.236 | 18.709 | 564.333 | 22.361 | 22.361

## CZ05
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 465.028 | 25.571 | 25.571
February | 3.463 | 0.079 | 400.586 | 17.622 | 17.701
March | 51.418 | 5.390 | 168.498 | 4.185 | 9.575
April | 8.267 | 0.548 | 322.558 | 12.821 | 13.369
May | 22.744 | 1.873 | 233.635 | 6.286 | 8.159
June | 84.746 | 11.570 | 60.050 | 0.940 | 12.510
July | 98.217 | 10.948 | 22.944 | 0.332 | 11.281
August | 133.972 | 11.517 | 0.000 | 0.000 | 11.517
September | 143.306 | 16.151 | 0.000 | 0.000 | 16.151
October | 121.971 | 18.905 | 4.300 | 0.064 | 18.969
November | 33.285 | 2.656 | 232.336 | 9.342 | 11.998
December | 0.000 | 0.000 | 471.542 | 24.114 | 24.114
Annual Sum or Average | 701.388 | 79.638 | 2381.476 | 101.277 | 180.915
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 8.159
Maximum of Months | 143.306 | 18.905 | 471.542 | 25.571 | 25.571

## CZ06
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 16.128 | 0.527 | 466.747 | 17.435 | 17.961
February | 24.856 | 1.812 | 434.360 | 16.276 | 18.089
March | 39.686 | 3.978 | 101.874 | 2.445 | 6.423
April | 43.349 | 3.241 | 83.201 | 2.320 | 5.561
May | 40.267 | 3.019 | 20.778 | 0.268 | 3.287
June | 119.417 | 10.024 | 0.000 | 0.000 | 10.024
July | 150.306 | 12.733 | 0.000 | 0.000 | 12.733
August | 245.944 | 23.241 | 0.000 | 0.000 | 23.241
September | 143.181 | 12.423 | 0.000 | 0.000 | 12.423
October | 173.608 | 19.743 | 0.000 | 0.000 | 19.743
November | 68.936 | 8.009 | 42.880 | 0.397 | 8.406
December | 33.195 | 2.003 | 405.396 | 14.230 | 16.234
Annual Sum or Average | 1098.872 | 100.752 | 1555.237 | 53.371 | 154.123
Minimum of Months | 16.128 | 0.527 | 0.000 | 0.000 | 3.287
Maximum of Months | 245.944 | 23.241 | 466.747 | 17.435 | 23.241

## CZ07
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 6.883 | 0.143 | 410.167 | 15.263 | 15.406
February | 26.736 | 0.886 | 477.238 | 17.989 | 18.875
March | 36.675 | 3.459 | 55.917 | 1.304 | 4.764
April | 45.441 | 3.298 | 40.664 | 0.685 | 3.983
May | 38.170 | 3.757 | 4.792 | 0.025 | 3.782
June | 71.398 | 6.194 | 0.000 | 0.000 | 6.194
July | 114.145 | 11.131 | 0.000 | 0.000 | 11.131
August | 201.631 | 21.469 | 0.000 | 0.000 | 21.469
September | 109.887 | 11.428 | 0.000 | 0.000 | 11.428
October | 127.462 | 13.420 | 0.000 | 0.000 | 13.420
November | 41.208 | 3.146 | 14.820 | 0.183 | 3.329
December | 32.926 | 1.561 | 377.309 | 12.331 | 13.892
Annual Sum or Average | 852.562 | 79.894 | 1380.906 | 47.779 | 127.674
Minimum of Months | 6.883 | 0.143 | 0.000 | 0.000 | 3.329
Maximum of Months | 201.631 | 21.469 | 477.238 | 17.989 | 21.469

## CZ08
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 16.151 | 0.740 | 409.634 | 14.070 | 14.811
February | 32.440 | 2.042 | 397.017 | 14.031 | 16.074
March | 46.235 | 4.871 | 74.997 | 1.694 | 6.565
April | 62.479 | 6.393 | 55.479 | 1.051 | 7.444
May | 61.094 | 6.858 | 6.366 | 0.046 | 6.904
June | 123.002 | 13.998 | 0.000 | 0.000 | 13.998
July | 191.085 | 24.938 | 0.000 | 0.000 | 24.938
August | 232.690 | 31.171 | 0.000 | 0.000 | 31.171
September | 129.664 | 15.313 | 0.000 | 0.000 | 15.313
October | 154.040 | 18.819 | 0.000 | 0.000 | 18.819
November | 53.894 | 4.148 | 19.645 | 0.250 | 4.398
December | 33.513 | 1.663 | 429.111 | 14.855 | 16.518
Annual Sum or Average | 1136.288 | 130.954 | 1392.249 | 45.997 | 176.951
Minimum of Months | 16.151 | 0.740 | 0.000 | 0.000 | 4.398
Maximum of Months | 232.690 | 31.171 | 429.111 | 14.855 | 31.171

## CZ09
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 36.884 | 2.122 | 422.249 | 17.590 | 19.712
February | 58.740 | 5.218 | 392.243 | 15.933 | 21.151
March | 67.051 | 6.329 | 225.502 | 4.336 | 10.665
April | 99.863 | 10.764 | 153.643 | 3.420 | 14.184
May | 101.929 | 11.952 | 59.518 | 1.009 | 12.961
June | 191.267 | 23.737 | 0.472 | 0.001 | 23.738
July | 244.124 | 34.039 | 0.000 | 0.000 | 34.039
August | 293.181 | 46.702 | 0.000 | 0.000 | 46.702
September | 265.407 | 37.617 | 0.000 | 0.000 | 37.617
October | 186.040 | 24.696 | 33.005 | 0.331 | 25.027
November | 67.586 | 5.508 | 176.204 | 4.145 | 9.654
December | 38.407 | 2.849 | 455.298 | 18.754 | 21.603
Annual Sum or Average | 1650.480 | 211.533 | 1918.134 | 65.521 | 277.054
Minimum of Months | 36.884 | 2.122 | 0.000 | 0.000 | 9.654
Maximum of Months | 293.181 | 46.702 | 455.298 | 18.754 | 46.702

## CZ10
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 274.889 | 7.163 | 7.163
February | 0.000 | 0.000 | 448.686 | 17.952 | 17.952
March | 34.343 | 1.412 | 205.786 | 3.273 | 4.684
April | 32.082 | 1.576 | 150.852 | 3.085 | 4.661
May | 113.708 | 8.127 | 63.240 | 0.984 | 9.111
June | 267.500 | 20.507 | 0.000 | 0.000 | 20.507
July | 374.231 | 34.203 | 0.000 | 0.000 | 34.203
August | 438.336 | 42.573 | 0.000 | 0.000 | 42.573
September | 296.872 | 27.059 | 0.000 | 0.000 | 27.059
October | 202.858 | 15.141 | 3.590 | 0.034 | 15.176
November | 42.197 | 1.638 | 128.413 | 3.068 | 4.706
December | 1.100 | 0.015 | 387.208 | 10.849 | 10.864
Annual Sum or Average | 1803.227 | 152.251 | 1662.664 | 46.407 | 198.658
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 4.661
Maximum of Months | 438.336 | 42.573 | 448.686 | 17.952 | 42.573

## CZ11
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 700.546 | 30.187 | 30.187
February | 0.000 | 0.000 | 496.512 | 18.392 | 18.392
March | 22.880 | 0.388 | 306.199 | 5.939 | 6.328
April | 8.086 | 0.092 | 209.590 | 4.339 | 4.431
May | 243.362 | 22.409 | 0.000 | 0.000 | 22.409
June | 414.706 | 47.717 | 0.000 | 0.000 | 47.717
July | 514.747 | 58.941 | 0.000 | 0.000 | 58.941
August | 563.176 | 67.523 | 0.000 | 0.000 | 67.523
September | 328.854 | 35.547 | 0.000 | 0.000 | 35.547
October | 176.321 | 12.485 | 5.008 | 0.037 | 12.522
November | 1.344 | 0.003 | 306.899 | 8.627 | 8.631
December | 0.000 | 0.000 | 613.252 | 20.333 | 20.333
Annual Sum or Average | 2273.475 | 245.106 | 2638.007 | 87.854 | 332.960
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 4.431
Maximum of Months | 563.176 | 67.523 | 700.546 | 30.187 | 67.523

## CZ12
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 722.958 | 29.841 | 29.841
February | 0.000 | 0.000 | 503.611 | 19.623 | 19.623
March | 10.121 | 0.180 | 251.343 | 5.263 | 5.443
April | 7.640 | 0.190 | 204.543 | 5.058 | 5.249
May | 166.862 | 14.487 | 1.000 | 0.001 | 14.488
June | 261.960 | 26.294 | 0.000 | 0.000 | 26.294
July | 326.697 | 34.849 | 0.000 | 0.000 | 34.849
August | 372.608 | 39.699 | 0.000 | 0.000 | 39.699
September | 250.214 | 23.951 | 0.000 | 0.000 | 23.951
October | 126.919 | 8.642 | 16.725 | 0.146 | 8.788
November | 4.579 | 0.033 | 240.839 | 6.141 | 6.174
December | 0.000 | 0.000 | 646.111 | 21.996 | 21.996
Annual Sum or Average | 1527.601 | 148.327 | 2587.131 | 88.070 | 236.397
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 5.249
Maximum of Months | 372.608 | 39.699 | 722.958 | 29.841 | 39.699

## CZ13
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 696.189 | 32.544 | 32.544
February | 0.000 | 0.000 | 460.611 | 19.607 | 19.607
March | 59.489 | 2.560 | 54.583 | 1.059 | 3.619
April | 54.829 | 2.547 | 78.183 | 2.144 | 4.691
May | 256.967 | 27.274 | 0.000 | 0.000 | 27.274
June | 490.603 | 66.222 | 0.000 | 0.000 | 66.222
July | 576.037 | 79.519 | 0.000 | 0.000 | 79.519
August | 623.842 | 87.209 | 0.000 | 0.000 | 87.209
September | 430.459 | 51.275 | 0.000 | 0.000 | 51.275
October | 263.927 | 23.947 | 0.000 | 0.000 | 23.947
November | 32.747 | 1.004 | 180.710 | 4.556 | 5.560
December | 0.000 | 0.000 | 662.083 | 27.386 | 27.386
Annual Sum or Average | 2788.900 | 341.557 | 2132.360 | 87.296 | 428.853
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 3.619
Maximum of Months | 623.842 | 87.209 | 696.189 | 32.544 | 87.209

## CZ14
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 430.597 | 20.110 | 20.110
February | 0.000 | 0.000 | 416.139 | 17.978 | 17.978
March | 46.683 | 0.962 | 328.918 | 16.184 | 17.146
April | 54.456 | 2.082 | 246.454 | 14.552 | 16.634
May | 289.180 | 24.373 | 107.554 | 4.637 | 29.011
June | 583.611 | 68.463 | 0.000 | 0.000 | 68.463
July | 660.806 | 78.398 | 0.000 | 0.000 | 78.398
August | 698.500 | 86.451 | 0.000 | 0.000 | 86.451
September | 484.951 | 48.893 | 6.911 | 0.103 | 48.996
October | 235.915 | 17.655 | 109.135 | 4.573 | 22.228
November | 3.971 | 0.068 | 319.731 | 13.167 | 13.235
December | 0.000 | 0.000 | 553.417 | 26.931 | 26.931
Annual Sum or Average | 3058.073 | 327.345 | 2518.855 | 118.237 | 445.582
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 13.235
Maximum of Months | 698.500 | 86.451 | 553.417 | 26.931 | 86.451

## CZ15
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 328.227 | 10.437 | 10.437
February | 24.938 | 1.059 | 251.795 | 7.460 | 8.519
March | 204.170 | 14.677 | 62.178 | 1.379 | 16.056
April | 278.159 | 25.956 | 52.033 | 1.510 | 27.466
May | 441.768 | 56.444 | 12.503 | 0.264 | 56.708
June | 663.287 | 108.714 | 0.000 | 0.000 | 108.714
July | 715.087 | 129.898 | 0.000 | 0.000 | 129.898
August | 715.224 | 135.322 | 0.000 | 0.000 | 135.322
September | 632.787 | 98.524 | 0.000 | 0.000 | 98.524
October | 476.444 | 54.526 | 3.217 | 0.045 | 54.571
November | 171.144 | 9.433 | 69.499 | 2.035 | 11.468
December | 20.286 | 1.334 | 180.942 | 4.761 | 6.096
Annual Sum or Average | 4343.294 | 635.889 | 960.395 | 27.890 | 663.779
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 6.096
Maximum of Months | 715.224 | 135.322 | 328.227 | 10.437 | 135.322

## CZ16
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 482.261 | 20.643 | 20.643
February | 0.000 | 0.000 | 382.556 | 13.248 | 13.248
March | 0.000 | 0.000 | 146.778 | 2.845 | 2.845
April | 7.137 | 0.085 | 62.845 | 1.341 | 1.426
May | 159.527 | 12.654 | 0.000 | 0.000 | 12.654
June | 395.924 | 48.246 | 0.000 | 0.000 | 48.246
July | 446.824 | 53.173 | 0.000 | 0.000 | 53.173
August | 448.153 | 57.459 | 0.000 | 0.000 | 57.459
September | 243.825 | 24.115 | 0.000 | 0.000 | 24.115
October | 104.151 | 6.854 | 3.033 | 0.040 | 6.895
November | 0.000 | 0.000 | 105.056 | 2.707 | 2.707
December | 0.000 | 0.000 | 389.458 | 13.171 | 13.171
Annual Sum or Average | 1805.541 | 202.587 | 1571.987 | 53.995 | 256.582
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 1.426
Maximum of Months | 448.153 | 57.459 | 482.261 | 20.643 | 57.459