## CZ01
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 292.511 | 28.641 | 28.641
February | 0.000 | 0.000 | 371.208 | 42.731 | 42.731
March | 6.067 | 2.360 | 156.887 | 12.956 | 15.316
April | 0.000 | 0.000 | 238.065 | 24.250 | 24.250
May | 0.000 | 0.000 | 98.556 | 6.966 | 6.966
June | 29.592 | 8.237 | 34.731 | 1.300 | 9.537
July | 0.000 | 0.000 | 11.988 | 0.523 | 0.523
August | 26.307 | 12.453 | 10.785 | 0.463 | 12.916
September | 18.917 | 7.403 | 89.469 | 4.412 | 11.815
October | 19.467 | 6.846 | 126.248 | 9.744 | 16.590
November | 0.896 | 0.023 | 274.619 | 23.271 | 23.294
December | 0.000 | 0.000 | 347.467 | 37.237 | 37.237
Annual Sum or Average | 101.244 | 37.321 | 2052.536 | 192.496 | 229.816
Minimum of Months | 0.000 | 0.000 | 10.785 | 0.463 | 0.523
Maximum of Months | 29.592 | 12.453 | 371.208 | 42.731 | 42.731

## CZ02
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 600.154 | 68.812 | 68.812
February | 0.000 | 0.000 | 425.263 | 56.398 | 56.398
March | 0.000 | 0.000 | 330.934 | 29.871 | 29.871
April | 0.000 | 0.000 | 297.829 | 30.206 | 30.206
May | 19.177 | 5.895 | 32.625 | 2.275 | 8.170
June | 106.249 | 42.543 | 0.000 | 0.000 | 42.543
July | 78.751 | 27.918 | 0.000 | 0.000 | 27.918
August | 108.681 | 41.469 | 0.000 | 0.000 | 41.469
September | 74.314 | 25.558 | 0.000 | 0.000 | 25.558
October | 23.429 | 11.535 | 90.134 | 5.139 | 16.674
November | 0.000 | 0.000 | 350.636 | 41.471 | 41.471
December | 0.000 | 0.000 | 567.877 | 67.721 | 67.721
Annual Sum or Average | 410.602 | 154.918 | 2695.452 | 301.892 | 456.811
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 8.170
Maximum of Months | 108.681 | 42.543 | 600.154 | 68.812 | 68.812

## CZ03
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 550.740 | 55.054 | 55.054
February | 4.267 | 0.599 | 404.537 | 42.427 | 43.026
March | 84.278 | 16.526 | 219.268 | 12.673 | 29.199
April | 51.725 | 8.966 | 284.196 | 21.395 | 30.360
May | 96.941 | 41.627 | 30.912 | 1.307 | 42.934
June | 128.122 | 52.755 | 0.000 | 0.000 | 52.755
July | 114.978 | 40.860 | 46.069 | 1.429 | 42.288
August | 137.202 | 54.645 | 19.232 | 0.573 | 55.217
September | 95.577 | 38.208 | 15.446 | 0.547 | 38.755
October | 101.004 | 38.565 | 45.043 | 1.645 | 40.210
November | 35.112 | 4.830 | 316.225 | 26.940 | 31.770
December | 0.000 | 0.000 | 495.143 | 52.147 | 52.147
Annual Sum or Average | 849.207 | 297.579 | 2426.809 | 216.135 | 513.714
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 29.199
Maximum of Months | 137.202 | 54.645 | 550.740 | 55.054 | 55.217

## CZ04
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 536.850 | 58.033 | 58.033
February | 0.000 | 0.000 | 400.556 | 47.716 | 47.716
March | 15.963 | 2.963 | 230.229 | 17.319 | 20.282
April | 10.383 | 3.342 | 272.252 | 24.343 | 27.685
May | 86.779 | 34.115 | 30.461 | 1.113 | 35.227
June | 93.673 | 37.084 | 0.000 | 0.000 | 37.084
July | 132.123 | 52.178 | 0.000 | 0.000 | 52.178
August | 150.830 | 65.344 | 0.000 | 0.000 | 65.344
September | 95.646 | 32.054 | 0.117 | 0.001 | 32.055
October | 41.396 | 17.197 | 123.696 | 6.887 | 24.084
November | 7.248 | 0.933 | 271.001 | 23.243 | 24.175
December | 0.000 | 0.000 | 483.846 | 54.281 | 54.281
Annual Sum or Average | 634.042 | 245.210 | 2349.008 | 232.935 | 478.145
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 20.282
Maximum of Months | 150.830 | 65.344 | 536.850 | 58.033 | 65.344

## CZ05
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 429.041 | 57.560 | 57.560
February | 7.656 | 1.319 | 362.631 | 39.875 | 41.195
March | 58.270 | 23.359 | 155.104 | 9.909 | 33.268
April | 13.783 | 4.291 | 288.980 | 28.699 | 32.990
May | 33.367 | 10.543 | 211.220 | 14.572 | 25.115
June | 103.458 | 42.936 | 54.597 | 2.228 | 45.164
July | 118.096 | 43.556 | 21.083 | 0.823 | 44.379
August | 162.636 | 54.856 | 0.000 | 0.000 | 54.856
September | 158.730 | 63.319 | 0.000 | 0.000 | 63.319
October | 128.741 | 62.986 | 4.797 | 0.194 | 63.181
November | 38.568 | 11.879 | 220.038 | 22.027 | 33.905
December | 0.000 | 0.000 | 448.715 | 55.200 | 55.200
Annual Sum or Average | 823.304 | 319.043 | 2196.205 | 231.088 | 550.132
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 25.115
Maximum of Months | 162.636 | 63.319 | 448.715 | 57.560 | 63.319

## CZ06
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 18.063 | 2.251 | 439.667 | 42.964 | 45.215
February | 30.791 | 7.515 | 406.914 | 39.676 | 47.191
March | 44.986 | 14.345 | 97.463 | 6.151 | 20.497
April | 49.972 | 13.427 | 76.867 | 5.777 | 19.204
May | 42.631 | 11.527 | 18.433 | 0.765 | 12.292
June | 110.066 | 32.277 | 0.000 | 0.000 | 32.277
July | 146.834 | 43.138 | 0.000 | 0.000 | 43.138
August | 238.714 | 79.672 | 0.000 | 0.000 | 79.672
September | 139.951 | 44.129 | 0.000 | 0.000 | 44.129
October | 157.269 | 59.011 | 0.000 | 0.000 | 59.011
November | 64.833 | 23.257 | 39.398 | 1.126 | 24.383
December | 32.627 | 6.869 | 385.264 | 35.782 | 42.651
Annual Sum or Average | 1076.738 | 337.418 | 1464.006 | 132.241 | 469.660
Minimum of Months | 18.063 | 2.251 | 0.000 | 0.000 | 12.292
Maximum of Months | 238.714 | 79.672 | 439.667 | 42.964 | 79.672

## CZ07
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 9.033 | 0.882 | 388.004 | 40.280 | 41.162
February | 30.912 | 5.383 | 436.106 | 47.121 | 52.504
March | 38.317 | 12.303 | 52.545 | 3.572 | 15.874
April | 45.395 | 12.779 | 37.293 | 1.927 | 14.707
May | 35.264 | 12.520 | 6.065 | 0.112 | 12.631
June | 64.103 | 18.482 | 0.000 | 0.000 | 18.482
July | 96.241 | 33.171 | 0.000 | 0.000 | 33.171
August | 178.149 | 66.700 | 0.000 | 0.000 | 66.700
September | 99.581 | 36.544 | 0.000 | 0.000 | 36.544
October | 119.213 | 42.126 | 0.000 | 0.000 | 42.126
November | 37.356 | 11.072 | 12.374 | 0.507 | 11.579
December | 33.576 | 6.641 | 357.340 | 33.181 | 39.822
Annual Sum or Average | 787.140 | 258.602 | 1289.726 | 126.700 | 385.303
Minimum of Months | 9.033 | 0.882 | 0.000 | 0.000 | 11.579
Maximum of Months | 178.149 | 66.700 | 436.106 | 47.121 | 66.700

## CZ08
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 18.551 | 3.372 | 383.160 | 35.726 | 39.098
February | 36.788 | 9.131 | 361.411 | 35.051 | 44.182
March | 50.295 | 16.958 | 68.406 | 4.348 | 21.306
April | 65.657 | 23.453 | 48.297 | 2.670 | 26.122
May | 60.820 | 22.791 | 6.147 | 0.129 | 22.920
June | 119.547 | 42.405 | 0.000 | 0.000 | 42.405
July | 192.517 | 76.428 | 0.000 | 0.000 | 76.428
August | 222.371 | 95.985 | 0.000 | 0.000 | 95.985
September | 126.575 | 48.888 | 0.000 | 0.000 | 48.888
October | 148.194 | 56.344 | 0.000 | 0.000 | 56.344
November | 50.167 | 14.552 | 12.875 | 0.617 | 15.169
December | 35.076 | 7.119 | 403.173 | 37.749 | 44.868
Annual Sum or Average | 1126.558 | 417.424 | 1283.469 | 116.291 | 533.715
Minimum of Months | 18.551 | 3.372 | 0.000 | 0.000 | 15.169
Maximum of Months | 222.371 | 95.985 | 403.173 | 37.749 | 95.985

## CZ09
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 38.555 | 6.919 | 398.522 | 40.412 | 47.331
February | 62.470 | 16.400 | 369.821 | 36.510 | 52.910
March | 71.362 | 20.204 | 201.661 | 9.842 | 30.046
April | 107.969 | 33.883 | 133.361 | 7.663 | 41.546
May | 109.654 | 34.542 | 46.897 | 2.194 | 36.736
June | 192.614 | 63.091 | 0.000 | 0.000 | 63.091
July | 247.389 | 90.906 | 0.000 | 0.000 | 90.906
August | 291.321 | 122.567 | 0.000 | 0.000 | 122.567
September | 255.948 | 99.471 | 0.000 | 0.000 | 99.471
October | 180.554 | 65.083 | 27.748 | 0.787 | 65.871
November | 63.262 | 16.214 | 162.624 | 9.832 | 26.046
December | 38.550 | 8.492 | 433.968 | 43.768 | 52.260
Annual Sum or Average | 1659.646 | 577.773 | 1774.602 | 151.008 | 728.781
Minimum of Months | 38.550 | 6.919 | 0.000 | 0.000 | 26.046
Maximum of Months | 291.321 | 122.567 | 433.968 | 43.768 | 122.567

## CZ10
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 297.259 | 30.050 | 30.050
February | 0.000 | 0.000 | 455.887 | 67.612 | 67.612
March | 38.839 | 8.137 | 233.708 | 15.621 | 23.758
April | 36.294 | 9.484 | 176.927 | 13.657 | 23.141
May | 120.941 | 38.552 | 89.355 | 5.379 | 43.930
June | 261.161 | 87.921 | 0.000 | 0.000 | 87.921
July | 352.115 | 136.465 | 0.000 | 0.000 | 136.465
August | 406.212 | 166.100 | 0.000 | 0.000 | 166.100
September | 289.658 | 107.341 | 0.000 | 0.000 | 107.341
October | 186.123 | 58.252 | 9.672 | 0.353 | 58.604
November | 39.572 | 6.518 | 167.425 | 14.654 | 21.173
December | 0.367 | 0.010 | 422.098 | 45.714 | 45.724
Annual Sum or Average | 1731.282 | 618.779 | 1852.331 | 193.040 | 811.819
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 21.173
Maximum of Months | 406.212 | 166.100 | 455.887 | 67.612 | 166.100

## CZ11
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 712.166 | 129.178 | 129.178
February | 0.000 | 0.000 | 514.828 | 81.666 | 81.666
March | 22.836 | 2.347 | 333.779 | 29.261 | 31.608
April | 12.734 | 0.952 | 219.960 | 21.359 | 22.310
May | 244.652 | 98.640 | 0.017 | 0.006 | 98.646
June | 401.595 | 189.284 | 0.000 | 0.000 | 189.284
July | 479.910 | 229.613 | 0.000 | 0.000 | 229.613
August | 536.367 | 253.423 | 0.000 | 0.000 | 253.423
September | 310.451 | 136.300 | 0.000 | 0.000 | 136.300
October | 161.045 | 48.792 | 8.933 | 0.469 | 49.261
November | 0.000 | 0.000 | 343.378 | 42.744 | 42.744
December | 0.000 | 0.000 | 642.412 | 93.567 | 93.567
Annual Sum or Average | 2169.588 | 959.350 | 2775.473 | 398.250 | 1357.600
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 22.310
Maximum of Months | 536.367 | 253.423 | 712.166 | 129.178 | 253.423

## CZ12
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 730.571 | 123.493 | 123.493
February | 0.000 | 0.000 | 513.926 | 80.874 | 80.874
March | 12.898 | 1.317 | 262.854 | 25.097 | 26.414
April | 11.902 | 1.639 | 217.689 | 23.684 | 25.323
May | 175.187 | 66.805 | 2.917 | 0.051 | 66.856
June | 262.558 | 112.710 | 0.000 | 0.000 | 112.710
July | 317.805 | 143.143 | 0.000 | 0.000 | 143.143
August | 349.401 | 159.189 | 0.000 | 0.000 | 159.189
September | 240.591 | 97.256 | 0.000 | 0.000 | 97.256
October | 119.376 | 34.478 | 22.113 | 1.199 | 35.677
November | 0.583 | 0.021 | 272.143 | 30.609 | 30.630
December | 0.000 | 0.000 | 677.382 | 96.318 | 96.318
Annual Sum or Average | 1490.303 | 616.559 | 2699.594 | 381.325 | 997.884
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 25.323
Maximum of Months | 349.401 | 159.189 | 730.571 | 123.493 | 159.189

## CZ13
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 705.272 | 144.657 | 144.657
February | 0.000 | 0.000 | 474.827 | 89.829 | 89.829
March | 60.102 | 16.579 | 63.873 | 6.156 | 22.735
April | 59.103 | 16.821 | 81.717 | 12.057 | 28.878
May | 257.820 | 128.430 | 0.000 | 0.000 | 128.430
June | 480.558 | 283.574 | 0.000 | 0.000 | 283.574
July | 554.067 | 331.964 | 0.000 | 0.000 | 331.964
August | 601.802 | 354.452 | 0.000 | 0.000 | 354.452
September | 407.651 | 212.077 | 0.000 | 0.000 | 212.077
October | 242.857 | 102.377 | 0.000 | 0.000 | 102.377
November | 28.265 | 4.754 | 207.229 | 26.697 | 31.450
December | 0.000 | 0.000 | 680.653 | 128.945 | 128.945
Annual Sum or Average | 2692.226 | 1451.029 | 2213.570 | 408.340 | 1859.369
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 22.735
Maximum of Months | 601.802 | 354.452 | 705.272 | 144.657 | 354.452

## CZ14
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 457.732 | 67.634 | 67.634
February | 0.000 | 0.000 | 430.698 | 59.973 | 59.973
March | 52.307 | 5.650 | 340.722 | 54.557 | 60.207
April | 64.222 | 10.406 | 258.650 | 48.350 | 58.757
May | 289.550 | 88.244 | 119.165 | 17.353 | 105.596
June | 561.883 | 220.905 | 0.000 | 0.000 | 220.905
July | 649.559 | 242.778 | 0.000 | 0.000 | 242.778
August | 690.588 | 265.159 | 0.000 | 0.000 | 265.159
September | 465.576 | 154.338 | 8.628 | 0.645 | 154.983
October | 225.414 | 57.481 | 125.270 | 17.846 | 75.327
November | 3.008 | 0.192 | 348.982 | 47.215 | 47.407
December | 0.000 | 0.000 | 582.907 | 88.862 | 88.862
Annual Sum or Average | 3002.107 | 1045.154 | 2672.753 | 402.435 | 1447.589
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 47.407
Maximum of Months | 690.588 | 265.159 | 582.907 | 88.862 | 265.159

## CZ15
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 363.433 | 47.634 | 47.634
February | 24.017 | 5.572 | 280.652 | 35.358 | 40.930
March | 205.387 | 68.488 | 88.933 | 8.626 | 77.114
April | 281.708 | 110.048 | 59.009 | 8.091 | 118.139
May | 425.389 | 199.474 | 18.635 | 2.121 | 201.595
June | 649.558 | 356.471 | 0.000 | 0.000 | 356.471
July | 708.145 | 426.370 | 0.000 | 0.000 | 426.370
August | 708.800 | 441.687 | 0.000 | 0.000 | 441.687
September | 617.876 | 320.825 | 0.000 | 0.000 | 320.825
October | 451.404 | 186.350 | 4.964 | 0.510 | 186.859
November | 155.018 | 37.784 | 91.726 | 11.023 | 48.808
December | 17.325 | 4.807 | 222.531 | 26.037 | 30.844
Annual Sum or Average | 4244.627 | 2157.875 | 1129.884 | 139.400 | 2297.276
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 30.844
Maximum of Months | 708.800 | 441.687 | 363.433 | 47.634 | 441.687

## CZ16
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 509.652 | 94.386 | 94.386
February | 0.000 | 0.000 | 395.166 | 61.168 | 61.168
March | 0.000 | 0.000 | 164.329 | 16.258 | 16.258
April | 15.146 | 2.134 | 68.150 | 7.342 | 9.475
May | 170.613 | 71.104 | 0.000 | 0.000 | 71.104
June | 386.689 | 207.220 | 0.000 | 0.000 | 207.220
July | 427.742 | 220.447 | 0.000 | 0.000 | 220.447
August | 428.759 | 234.128 | 0.000 | 0.000 | 234.128
September | 229.662 | 104.043 | 0.000 | 0.000 | 104.043
October | 96.294 | 32.046 | 6.183 | 0.512 | 32.559
November | 0.000 | 0.000 | 125.881 | 16.214 | 16.214
December | 0.000 | 0.000 | 416.831 | 65.604 | 65.604
Annual Sum or Average | 1754.904 | 871.122 | 1686.193 | 261.484 | 1132.606
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 9.475
Maximum of Months | 428.759 | 234.128 | 509.652 | 94.386 | 234.128