## CZ01
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 315.583 | 7.674 | 7.674
February | 0.000 | 0.000 | 421.806 | 12.101 | 12.101
March | 4.500 | 0.288 | 164.270 | 3.206 | 3.495
April | 0.000 | 0.000 | 264.889 | 6.391 | 6.391
May | 1.600 | 0.040 | 106.833 | 1.540 | 1.579
June | 32.667 | 2.820 | 32.990 | 0.243 | 3.064
July | 3.383 | 0.054 | 12.876 | 0.112 | 0.166
August | 30.789 | 2.500 | 10.634 | 0.084 | 2.584
September | 17.470 | 1.165 | 94.861 | 0.977 | 2.142
October | 11.336 | 0.737 | 138.229 | 2.407 | 3.143
November | 0.000 | 0.000 | 280.250 | 5.960 | 5.960
December | 0.000 | 0.000 | 373.889 | 10.182 | 10.182
Annual Sum or Average | 101.745 | 7.605 | 2217.110 | 50.877 | 58.482
Minimum of Months | 0.000 | 0.000 | 10.634 | 0.084 | 0.166
Maximum of Months | 32.667 | 2.820 | 421.806 | 12.101 | 12.101

## CZ02
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 664.222 | 27.169 | 27.169
February | 0.000 | 0.000 | 482.917 | 22.258 | 22.258
March | 0.000 | 0.000 | 357.953 | 10.901 | 10.901
April | 0.000 | 0.000 | 324.472 | 11.207 | 11.207
May | 22.738 | 1.877 | 35.897 | 0.760 | 2.637
June | 110.014 | 13.652 | 0.000 | 0.000 | 13.652
July | 82.500 | 9.269 | 0.000 | 0.000 | 9.269
August | 104.711 | 12.024 | 0.000 | 0.000 | 12.024
September | 66.389 | 5.897 | 0.000 | 0.000 | 5.897
October | 20.692 | 2.870 | 98.542 | 1.828 | 4.698
November | 0.000 | 0.000 | 386.528 | 15.776 | 15.776
December | 0.000 | 0.000 | 652.861 | 27.166 | 27.166
Annual Sum or Average | 407.043 | 45.588 | 3003.392 | 117.064 | 162.652
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 2.637
Maximum of Months | 110.014 | 13.652 | 664.222 | 27.169 | 27.169

## CZ03
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 645.000 | 22.938 | 22.938
February | 0.000 | 0.000 | 484.083 | 17.845 | 17.845
March | 40.009 | 1.925 | 236.606 | 4.672 | 6.597
April | 27.274 | 1.491 | 315.465 | 8.249 | 9.740
May | 97.769 | 12.914 | 32.914 | 0.445 | 13.359
June | 127.972 | 17.618 | 0.000 | 0.000 | 17.618
July | 118.495 | 13.013 | 48.790 | 0.469 | 13.482
August | 129.530 | 16.068 | 19.211 | 0.174 | 16.241
September | 80.844 | 8.864 | 16.128 | 0.171 | 9.035
October | 73.105 | 8.966 | 48.829 | 0.603 | 9.569
November | 5.889 | 0.210 | 366.706 | 10.782 | 10.992
December | 0.000 | 0.000 | 594.806 | 22.034 | 22.034
Annual Sum or Average | 700.887 | 81.068 | 2808.537 | 88.382 | 169.450
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 6.597
Maximum of Months | 129.530 | 17.618 | 645.000 | 22.938 | 22.938

## CZ04
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 605.389 | 20.254 | 20.254
February | 0.000 | 0.000 | 457.347 | 16.622 | 16.622
March | 11.194 | 0.379 | 240.588 | 5.304 | 5.684
April | 9.348 | 0.629 | 288.469 | 7.721 | 8.350
May | 92.755 | 10.627 | 24.800 | 0.267 | 10.894
June | 116.458 | 12.707 | 0.000 | 0.000 | 12.707
July | 149.840 | 17.344 | 0.000 | 0.000 | 17.344
August | 159.747 | 19.710 | 0.000 | 0.000 | 19.710
September | 93.278 | 7.643 | 0.000 | 0.000 | 7.643
October | 36.284 | 4.147 | 129.006 | 2.057 | 6.204
November | 1.317 | 0.019 | 299.769 | 7.511 | 7.530
December | 0.000 | 0.000 | 550.056 | 18.836 | 18.836
Annual Sum or Average | 670.221 | 73.206 | 2595.423 | 78.572 | 151.778
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 5.684
Maximum of Months | 159.747 | 19.710 | 605.389 | 20.254 | 20.254

## CZ05
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 507.944 | 24.309 | 24.309
February | 0.000 | 0.000 | 422.411 | 16.468 | 16.468
March | 48.404 | 4.232 | 167.981 | 3.720 | 7.952
April | 8.389 | 0.657 | 315.472 | 11.241 | 11.898
May | 28.275 | 2.640 | 224.933 | 5.357 | 7.997
June | 101.119 | 14.183 | 56.756 | 0.777 | 14.960
July | 122.350 | 14.588 | 21.917 | 0.275 | 14.863
August | 159.750 | 15.502 | 0.000 | 0.000 | 15.502
September | 145.319 | 15.605 | 0.000 | 0.000 | 15.605
October | 106.030 | 15.435 | 4.383 | 0.057 | 15.492
November | 18.367 | 0.926 | 245.710 | 8.794 | 9.720
December | 0.000 | 0.000 | 506.278 | 22.857 | 22.857
Annual Sum or Average | 738.003 | 83.767 | 2473.785 | 93.855 | 177.623
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 7.952
Maximum of Months | 159.750 | 15.605 | 507.944 | 24.309 | 24.309

## CZ06
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 1.856 | 0.030 | 513.722 | 16.186 | 16.216
February | 18.831 | 0.808 | 464.399 | 14.835 | 15.643
March | 38.449 | 3.108 | 102.609 | 2.156 | 5.264
April | 52.325 | 3.757 | 79.153 | 1.973 | 5.729
May | 45.358 | 4.067 | 17.500 | 0.212 | 4.279
June | 151.847 | 13.903 | 0.000 | 0.000 | 13.903
July | 185.194 | 16.918 | 0.000 | 0.000 | 16.918
August | 254.056 | 26.477 | 0.000 | 0.000 | 26.477
September | 148.056 | 12.270 | 0.000 | 0.000 | 12.270
October | 161.567 | 15.874 | 0.000 | 0.000 | 15.874
November | 58.394 | 4.848 | 40.578 | 0.324 | 5.172
December | 12.277 | 0.256 | 433.381 | 13.082 | 13.338
Annual Sum or Average | 1128.210 | 102.317 | 1651.342 | 48.768 | 151.084
Minimum of Months | 1.856 | 0.030 | 0.000 | 0.000 | 4.279
Maximum of Months | 254.056 | 26.477 | 513.722 | 16.186 | 26.477

## CZ07
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 458.986 | 14.170 | 14.170
February | 16.478 | 0.396 | 500.039 | 16.310 | 16.707
March | 37.574 | 3.237 | 56.861 | 1.154 | 4.391
April | 50.929 | 4.186 | 39.647 | 0.569 | 4.755
May | 56.645 | 5.571 | 3.960 | 0.016 | 5.587
June | 86.773 | 9.013 | 0.000 | 0.000 | 9.013
July | 147.119 | 14.519 | 0.000 | 0.000 | 14.519
August | 208.002 | 24.474 | 0.000 | 0.000 | 24.474
September | 120.722 | 12.128 | 0.000 | 0.000 | 12.128
October | 118.216 | 11.739 | 0.000 | 0.000 | 11.739
November | 33.744 | 2.126 | 13.725 | 0.148 | 2.274
December | 20.310 | 0.442 | 407.596 | 11.375 | 11.817
Annual Sum or Average | 896.511 | 87.833 | 1480.814 | 43.742 | 131.575
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 2.274
Maximum of Months | 208.002 | 24.474 | 500.039 | 16.310 | 24.474

## CZ08
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 6.026 | 0.161 | 443.709 | 13.919 | 14.081
February | 22.021 | 1.083 | 418.708 | 13.575 | 14.659
March | 42.581 | 4.379 | 76.108 | 1.592 | 5.971
April | 70.932 | 7.631 | 52.557 | 0.921 | 8.552
May | 73.317 | 8.962 | 5.022 | 0.033 | 8.995
June | 145.238 | 18.342 | 0.000 | 0.000 | 18.342
July | 204.208 | 30.031 | 0.000 | 0.000 | 30.031
August | 233.897 | 34.492 | 0.000 | 0.000 | 34.492
September | 133.984 | 15.775 | 0.000 | 0.000 | 15.775
October | 137.947 | 16.095 | 0.000 | 0.000 | 16.095
November | 41.708 | 2.628 | 17.298 | 0.220 | 2.848
December | 13.532 | 0.425 | 454.567 | 14.608 | 15.033
Annual Sum or Average | 1125.391 | 140.006 | 1467.968 | 44.868 | 184.874
Minimum of Months | 6.026 | 0.161 | 0.000 | 0.000 | 2.848
Maximum of Months | 233.897 | 34.492 | 454.567 | 14.608 | 34.492

## CZ09
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 21.966 | 0.781 | 456.332 | 17.889 | 18.670
February | 48.064 | 3.358 | 413.513 | 15.806 | 19.164
March | 64.696 | 6.053 | 222.766 | 4.107 | 10.160
April | 111.951 | 13.264 | 146.038 | 3.156 | 16.420
May | 131.765 | 16.407 | 55.367 | 0.908 | 17.315
June | 209.136 | 30.549 | 0.278 | 0.001 | 30.550
July | 250.115 | 40.955 | 0.000 | 0.000 | 40.955
August | 291.431 | 50.932 | 0.000 | 0.000 | 50.932
September | 252.221 | 37.267 | 0.000 | 0.000 | 37.267
October | 167.227 | 21.409 | 33.041 | 0.318 | 21.727
November | 53.748 | 3.553 | 184.267 | 4.126 | 7.679
December | 25.818 | 1.318 | 482.493 | 18.906 | 20.224
Annual Sum or Average | 1628.140 | 225.844 | 1994.094 | 65.217 | 291.062
Minimum of Months | 21.966 | 0.781 | 0.000 | 0.000 | 7.679
Maximum of Months | 291.431 | 50.932 | 482.493 | 18.906 | 50.932

## CZ10
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 299.625 | 6.799 | 6.799
February | 0.000 | 0.000 | 484.944 | 16.705 | 16.705
March | 29.140 | 1.209 | 206.870 | 2.876 | 4.085
April | 33.673 | 1.790 | 147.927 | 2.665 | 4.455
May | 121.194 | 9.149 | 61.822 | 0.835 | 9.984
June | 273.769 | 22.713 | 0.000 | 0.000 | 22.713
July | 379.250 | 35.642 | 0.000 | 0.000 | 35.642
August | 442.186 | 43.068 | 0.000 | 0.000 | 43.068
September | 291.617 | 26.172 | 0.000 | 0.000 | 26.172
October | 184.273 | 12.989 | 3.725 | 0.033 | 13.022
November | 29.417 | 0.856 | 140.558 | 2.746 | 3.602
December | 0.000 | 0.000 | 420.208 | 10.273 | 10.273
Annual Sum or Average | 1784.520 | 153.588 | 1765.680 | 42.932 | 196.521
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 3.602
Maximum of Months | 442.186 | 43.068 | 484.944 | 16.705 | 43.068

## CZ11
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 723.891 | 28.015 | 28.015
February | 0.000 | 0.000 | 530.721 | 17.215 | 17.215
March | 21.802 | 0.368 | 318.835 | 5.381 | 5.750
April | 12.467 | 0.235 | 213.257 | 3.808 | 4.042
May | 249.128 | 22.928 | 0.000 | 0.000 | 22.928
June | 418.730 | 48.192 | 0.000 | 0.000 | 48.192
July | 518.789 | 58.293 | 0.000 | 0.000 | 58.293
August | 566.028 | 65.972 | 0.000 | 0.000 | 65.972
September | 317.542 | 32.247 | 0.000 | 0.000 | 32.247
October | 155.429 | 10.010 | 4.980 | 0.035 | 10.045
November | 0.000 | 0.000 | 329.949 | 7.990 | 7.990
December | 0.000 | 0.000 | 664.569 | 19.004 | 19.004
Annual Sum or Average | 2259.914 | 238.245 | 2786.201 | 81.447 | 319.692
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 4.042
Maximum of Months | 566.028 | 65.972 | 723.891 | 28.015 | 65.972

## CZ12
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 739.542 | 27.137 | 27.137
February | 0.000 | 0.000 | 550.639 | 18.136 | 18.136
March | 8.700 | 0.169 | 261.342 | 4.676 | 4.844
April | 11.876 | 0.312 | 207.626 | 4.365 | 4.676
May | 173.335 | 14.798 | 0.500 | 0.001 | 14.798
June | 266.096 | 26.656 | 0.000 | 0.000 | 26.656
July | 333.400 | 34.605 | 0.000 | 0.000 | 34.605
August | 376.144 | 38.185 | 0.000 | 0.000 | 38.185
September | 241.742 | 21.315 | 0.000 | 0.000 | 21.315
October | 110.540 | 6.808 | 17.508 | 0.131 | 6.939
November | 1.333 | 0.004 | 266.081 | 5.641 | 5.645
December | 0.000 | 0.000 | 686.625 | 20.226 | 20.226
Annual Sum or Average | 1523.166 | 142.851 | 2729.862 | 80.312 | 223.163
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 4.676
Maximum of Months | 376.144 | 38.185 | 739.542 | 27.137 | 38.185

## CZ13
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 719.439 | 28.891 | 28.891
February | 0.000 | 0.000 | 502.417 | 17.639 | 17.639
March | 56.528 | 2.451 | 58.083 | 0.930 | 3.382
April | 64.722 | 3.118 | 77.806 | 1.763 | 4.881
May | 267.552 | 27.602 | 0.000 | 0.000 | 27.602
June | 494.644 | 66.236 | 0.000 | 0.000 | 66.236
July | 579.298 | 79.493 | 0.000 | 0.000 | 79.493
August | 625.255 | 86.949 | 0.000 | 0.000 | 86.949
September | 422.477 | 47.410 | 0.000 | 0.000 | 47.410
October | 245.936 | 19.986 | 0.000 | 0.000 | 19.986
November | 12.547 | 0.374 | 201.344 | 4.117 | 4.491
December | 0.000 | 0.000 | 703.583 | 24.412 | 24.412
Annual Sum or Average | 2768.958 | 333.620 | 2262.672 | 77.752 | 411.372
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 3.382
Maximum of Months | 625.255 | 86.949 | 719.439 | 28.891 | 86.949

## CZ14
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 509.331 | 19.426 | 19.426
February | 0.000 | 0.000 | 462.389 | 17.041 | 17.041
March | 37.979 | 1.050 | 341.394 | 14.543 | 15.593
April | 57.657 | 2.537 | 245.711 | 12.872 | 15.409
May | 295.300 | 25.289 | 103.917 | 4.017 | 29.306
June | 586.028 | 68.704 | 0.000 | 0.000 | 68.704
July | 662.333 | 77.293 | 0.000 | 0.000 | 77.293
August | 699.139 | 84.695 | 0.000 | 0.000 | 84.695
September | 483.100 | 46.084 | 6.873 | 0.084 | 46.168
October | 218.825 | 14.926 | 115.649 | 4.152 | 19.078
November | 1.333 | 0.019 | 352.278 | 12.383 | 12.402
December | 0.000 | 0.000 | 630.417 | 26.009 | 26.009
Annual Sum or Average | 3041.694 | 320.597 | 2767.957 | 110.526 | 431.124
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 12.402
Maximum of Months | 699.139 | 84.695 | 630.417 | 26.009 | 84.695

## CZ15
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 364.681 | 9.846 | 9.846
February | 21.253 | 0.792 | 272.673 | 6.919 | 7.711
March | 190.757 | 13.509 | 63.526 | 1.189 | 14.698
April | 279.937 | 26.027 | 52.371 | 1.297 | 27.324
May | 445.864 | 56.280 | 12.315 | 0.224 | 56.504
June | 665.132 | 107.770 | 0.000 | 0.000 | 107.770
July | 715.536 | 128.109 | 0.000 | 0.000 | 128.109
August | 715.557 | 132.878 | 0.000 | 0.000 | 132.878
September | 633.372 | 93.321 | 0.000 | 0.000 | 93.321
October | 464.634 | 48.505 | 2.906 | 0.036 | 48.541
November | 146.055 | 7.014 | 75.065 | 1.898 | 8.912
December | 14.913 | 0.894 | 204.525 | 4.583 | 5.478
Annual Sum or Average | 4293.009 | 615.098 | 1048.062 | 25.994 | 641.092
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 5.478
Maximum of Months | 715.557 | 132.878 | 364.681 | 9.846 | 132.878

## CZ16
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 555.606 | 18.540 | 18.540
February | 0.000 | 0.000 | 416.933 | 11.792 | 11.792
March | 0.000 | 0.000 | 154.319 | 2.465 | 2.465
April | 13.976 | 0.274 | 62.444 | 1.073 | 1.347
May | 162.761 | 13.430 | 0.000 | 0.000 | 13.430
June | 402.744 | 48.312 | 0.000 | 0.000 | 48.312
July | 451.761 | 52.328 | 0.000 | 0.000 | 52.328
August | 450.562 | 56.327 | 0.000 | 0.000 | 56.327
September | 236.947 | 21.610 | 0.000 | 0.000 | 21.610
October | 86.467 | 5.169 | 3.339 | 0.035 | 5.204
November | 0.000 | 0.000 | 120.931 | 2.531 | 2.531
December | 0.000 | 0.000 | 434.017 | 11.889 | 11.889
Annual Sum or Average | 1805.218 | 197.450 | 1747.589 | 48.325 | 245.774
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 1.347
Maximum of Months | 451.761 | 56.327 | 555.606 | 18.540 | 56.327