## CZ01
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 294.946 | 21.110 | 21.110
February | 0.000 | 0.000 | 379.818 | 31.902 | 31.902
March | 5.117 | 1.552 | 149.858 | 9.055 | 10.608
April | 0.000 | 0.000 | 223.473 | 16.957 | 16.957
May | 3.383 | 0.090 | 85.609 | 4.317 | 4.407
June | 38.717 | 11.584 | 25.349 | 0.620 | 12.204
July | 3.300 | 0.114 | 8.969 | 0.260 | 0.374
August | 37.401 | 12.025 | 8.886 | 0.240 | 12.265
September | 20.313 | 5.971 | 81.942 | 2.713 | 8.684
October | 13.622 | 3.927 | 125.061 | 6.930 | 10.857
November | 0.000 | 0.000 | 273.555 | 17.138 | 17.138
December | 0.000 | 0.000 | 354.433 | 27.934 | 27.934
Annual Sum or Average | 121.853 | 35.263 | 2011.899 | 139.177 | 174.440
Minimum of Months | 0.000 | 0.000 | 8.886 | 0.240 | 0.374
Maximum of Months | 38.717 | 12.025 | 379.818 | 31.902 | 31.902

## CZ02
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 624.558 | 56.753 | 56.753
February | 0.000 | 0.000 | 443.344 | 46.322 | 46.322
March | 0.000 | 0.000 | 327.591 | 23.455 | 23.455
April | 0.000 | 0.000 | 282.990 | 23.197 | 23.197
May | 26.892 | 5.938 | 31.097 | 1.696 | 7.634
June | 116.729 | 37.316 | 0.000 | 0.000 | 37.316
July | 89.504 | 25.878 | 0.000 | 0.000 | 25.878
August | 120.525 | 39.215 | 0.000 | 0.000 | 39.215
September | 78.267 | 21.577 | 0.000 | 0.000 | 21.577
October | 22.103 | 9.024 | 90.908 | 4.009 | 13.033
November | 0.000 | 0.000 | 361.072 | 33.731 | 33.731
December | 0.000 | 0.000 | 600.165 | 55.863 | 55.863
Annual Sum or Average | 454.020 | 138.949 | 2761.726 | 245.027 | 383.977
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 7.634
Maximum of Months | 120.525 | 39.215 | 624.558 | 56.753 | 56.753

## CZ03
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 580.008 | 48.451 | 48.451
February | 2.367 | 0.152 | 423.762 | 37.232 | 37.384
March | 74.353 | 12.390 | 215.304 | 10.481 | 22.871
April | 75.586 | 12.516 | 267.514 | 17.354 | 29.870
May | 112.672 | 42.435 | 29.823 | 1.052 | 43.487
June | 147.139 | 51.050 | 0.000 | 0.000 | 51.050
July | 138.822 | 42.120 | 44.943 | 1.144 | 43.264
August | 160.004 | 59.029 | 18.690 | 0.458 | 59.486
September | 99.667 | 34.676 | 15.042 | 0.442 | 35.117
October | 84.837 | 29.636 | 45.596 | 1.359 | 30.995
November | 16.098 | 1.539 | 328.364 | 23.357 | 24.896
December | 0.000 | 0.000 | 526.511 | 46.029 | 46.029
Annual Sum or Average | 911.545 | 285.543 | 2495.558 | 187.357 | 472.900
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 22.871
Maximum of Months | 160.004 | 59.029 | 580.008 | 48.451 | 59.486

## CZ04
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 568.318 | 45.389 | 45.389
February | 0.000 | 0.000 | 419.442 | 36.992 | 36.992
March | 15.139 | 1.746 | 222.321 | 12.492 | 14.238
April | 11.228 | 2.825 | 252.769 | 17.192 | 20.017
May | 99.981 | 30.756 | 26.382 | 0.688 | 31.444
June | 111.213 | 32.443 | 0.000 | 0.000 | 32.443
July | 155.866 | 46.790 | 0.000 | 0.000 | 46.790
August | 171.118 | 58.722 | 0.000 | 0.000 | 58.722
September | 102.934 | 25.943 | 0.000 | 0.000 | 25.943
October | 38.786 | 12.612 | 121.177 | 4.887 | 17.499
November | 1.750 | 0.102 | 280.825 | 17.537 | 17.639
December | 0.000 | 0.000 | 512.084 | 42.374 | 42.374
Annual Sum or Average | 708.015 | 211.940 | 2403.317 | 177.551 | 389.491
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 14.238
Maximum of Months | 171.118 | 58.722 | 568.318 | 45.389 | 58.722

## CZ05
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 451.177 | 49.665 | 49.665
February | 2.544 | 0.180 | 375.733 | 33.952 | 34.133
March | 58.853 | 19.381 | 151.931 | 7.942 | 27.324
April | 16.867 | 4.782 | 277.399 | 23.221 | 28.003
May | 38.475 | 10.561 | 203.930 | 11.576 | 22.136
June | 115.600 | 38.413 | 53.689 | 1.758 | 40.170
July | 134.372 | 42.102 | 20.428 | 0.643 | 42.745
August | 199.375 | 63.146 | 0.000 | 0.000 | 63.146
September | 172.873 | 61.606 | 0.000 | 0.000 | 61.606
October | 122.855 | 50.002 | 4.729 | 0.150 | 50.152
November | 29.161 | 6.657 | 227.790 | 18.659 | 25.316
December | 0.000 | 0.000 | 467.976 | 47.435 | 47.435
Annual Sum or Average | 890.975 | 296.829 | 2234.783 | 195.001 | 491.831
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 22.136
Maximum of Months | 199.375 | 63.146 | 467.976 | 49.665 | 63.146

## CZ06
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 4.517 | 0.207 | 473.833 | 35.975 | 36.182
February | 20.976 | 3.918 | 425.324 | 32.745 | 36.664
March | 44.161 | 11.525 | 94.147 | 4.918 | 16.443
April | 73.544 | 16.216 | 67.997 | 4.389 | 20.605
May | 50.675 | 12.203 | 15.839 | 0.554 | 12.757
June | 127.806 | 30.361 | 0.000 | 0.000 | 30.361
July | 170.597 | 40.802 | 0.000 | 0.000 | 40.802
August | 268.500 | 84.486 | 0.000 | 0.000 | 84.486
September | 171.147 | 45.149 | 0.000 | 0.000 | 45.149
October | 154.633 | 47.345 | 0.000 | 0.000 | 47.345
November | 58.171 | 16.336 | 37.644 | 0.806 | 17.142
December | 19.390 | 1.716 | 407.063 | 29.591 | 31.307
Annual Sum or Average | 1164.117 | 310.264 | 1521.847 | 108.977 | 419.242
Minimum of Months | 4.517 | 0.207 | 0.000 | 0.000 | 12.757
Maximum of Months | 268.500 | 84.486 | 473.833 | 35.975 | 84.486

## CZ07
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.876 | 0.008 | 418.262 | 30.723 | 30.730
February | 19.878 | 1.793 | 462.976 | 35.415 | 37.208
March | 41.122 | 9.643 | 52.744 | 2.610 | 12.252
April | 53.027 | 13.070 | 35.031 | 1.282 | 14.352
May | 44.244 | 11.592 | 4.992 | 0.062 | 11.654
June | 70.169 | 16.660 | 0.000 | 0.000 | 16.660
July | 120.475 | 29.067 | 0.000 | 0.000 | 29.067
August | 192.220 | 58.313 | 0.000 | 0.000 | 58.313
September | 115.056 | 32.853 | 0.000 | 0.000 | 32.853
October | 114.888 | 30.941 | 0.000 | 0.000 | 30.941
November | 32.739 | 6.836 | 12.126 | 0.315 | 7.151
December | 24.667 | 2.437 | 380.693 | 25.199 | 27.637
Annual Sum or Average | 829.361 | 213.211 | 1366.823 | 95.606 | 308.817
Minimum of Months | 0.876 | 0.008 | 0.000 | 0.000 | 7.151
Maximum of Months | 192.220 | 58.313 | 462.976 | 35.415 | 58.313

## CZ08
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 9.333 | 0.957 | 406.779 | 27.519 | 28.476
February | 25.797 | 4.199 | 379.103 | 26.748 | 30.947
March | 49.041 | 12.841 | 67.124 | 3.085 | 15.925
April | 82.636 | 22.256 | 43.263 | 1.711 | 23.967
May | 71.880 | 19.475 | 5.044 | 0.067 | 19.542
June | 129.537 | 35.026 | 0.000 | 0.000 | 35.026
July | 199.131 | 62.379 | 0.000 | 0.000 | 62.379
August | 240.404 | 82.800 | 0.000 | 0.000 | 82.800
September | 144.218 | 42.739 | 0.000 | 0.000 | 42.739
October | 139.375 | 40.388 | 0.000 | 0.000 | 40.388
November | 41.799 | 8.544 | 12.728 | 0.396 | 8.940
December | 21.935 | 2.428 | 424.235 | 29.182 | 31.610
Annual Sum or Average | 1155.087 | 334.032 | 1338.276 | 88.707 | 422.739
Minimum of Months | 9.333 | 0.957 | 0.000 | 0.000 | 8.940
Maximum of Months | 240.404 | 82.800 | 424.235 | 29.182 | 82.800

## CZ09
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 25.317 | 3.363 | 421.057 | 35.503 | 38.866
February | 51.633 | 10.861 | 382.287 | 31.592 | 42.453
March | 70.878 | 17.257 | 193.148 | 8.047 | 25.305
April | 128.925 | 36.377 | 125.887 | 6.100 | 42.477
May | 125.987 | 34.399 | 44.908 | 1.777 | 36.175
June | 194.729 | 58.322 | 0.000 | 0.000 | 58.322
July | 252.835 | 83.084 | 0.000 | 0.000 | 83.084
August | 307.961 | 117.259 | 0.000 | 0.000 | 117.259
September | 265.452 | 91.486 | 0.000 | 0.000 | 91.486
October | 169.270 | 52.517 | 26.989 | 0.617 | 53.133
November | 54.984 | 10.867 | 163.097 | 8.234 | 19.101
December | 30.717 | 5.123 | 458.261 | 38.491 | 43.614
Annual Sum or Average | 1678.688 | 520.914 | 1815.635 | 130.360 | 651.274
Minimum of Months | 25.317 | 3.363 | 0.000 | 0.000 | 19.101
Maximum of Months | 307.961 | 117.259 | 458.261 | 38.491 | 117.259

## CZ10
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 315.526 | 23.150 | 23.150
February | 0.000 | 0.000 | 490.281 | 50.187 | 50.187
March | 35.946 | 5.926 | 224.325 | 11.127 | 17.053
April | 42.977 | 9.460 | 161.831 | 9.633 | 19.094
May | 128.013 | 31.737 | 80.276 | 3.701 | 35.438
June | 271.005 | 69.770 | 0.000 | 0.000 | 69.770
July | 369.992 | 108.990 | 0.000 | 0.000 | 108.990
August | 435.050 | 139.793 | 0.000 | 0.000 | 139.793
September | 304.599 | 90.497 | 0.000 | 0.000 | 90.497
October | 176.804 | 43.439 | 9.389 | 0.204 | 43.643
November | 27.881 | 2.914 | 174.986 | 11.033 | 13.947
December | 0.000 | 0.000 | 449.319 | 35.563 | 35.563
Annual Sum or Average | 1792.267 | 502.527 | 1905.933 | 144.598 | 647.125
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 13.947
Maximum of Months | 435.050 | 139.793 | 490.281 | 50.187 | 139.793

## CZ11
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 727.098 | 89.762 | 89.762
February | 0.000 | 0.000 | 542.640 | 56.203 | 56.203
March | 18.628 | 1.309 | 344.618 | 19.848 | 21.157
April | 16.054 | 1.374 | 200.187 | 13.233 | 14.607
May | 261.128 | 79.461 | 0.017 | 0.003 | 79.464
June | 415.658 | 148.209 | 0.000 | 0.000 | 148.209
July | 504.711 | 180.126 | 0.000 | 0.000 | 180.126
August | 560.201 | 202.430 | 0.000 | 0.000 | 202.430
September | 313.793 | 104.136 | 0.000 | 0.000 | 104.136
October | 143.076 | 32.583 | 8.867 | 0.300 | 32.883
November | 0.000 | 0.000 | 362.655 | 30.024 | 30.024
December | 0.000 | 0.000 | 684.572 | 65.299 | 65.299
Annual Sum or Average | 2233.249 | 749.627 | 2870.654 | 274.672 | 1024.299
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 14.607
Maximum of Months | 560.201 | 202.430 | 727.098 | 89.762 | 202.430

## CZ12
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 741.167 | 86.651 | 86.651
February | 0.000 | 0.000 | 558.250 | 57.474 | 57.474
March | 9.917 | 0.784 | 262.179 | 16.666 | 17.450
April | 17.734 | 1.934 | 199.507 | 14.826 | 16.760
May | 189.505 | 53.317 | 2.722 | 0.026 | 53.343
June | 274.341 | 86.064 | 0.000 | 0.000 | 86.064
July | 333.610 | 110.841 | 0.000 | 0.000 | 110.841
August | 373.378 | 126.827 | 0.000 | 0.000 | 126.827
September | 244.409 | 73.365 | 0.000 | 0.000 | 73.365
October | 103.447 | 22.105 | 22.012 | 0.789 | 22.894
November | 0.000 | 0.000 | 290.238 | 21.542 | 21.542
December | 0.000 | 0.000 | 709.208 | 67.857 | 67.857
Annual Sum or Average | 1546.341 | 475.236 | 2785.284 | 265.832 | 741.068
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 16.760
Maximum of Months | 373.378 | 126.827 | 741.167 | 86.651 | 126.827

## CZ13
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 722.617 | 93.813 | 93.813
February | 0.000 | 0.000 | 512.056 | 57.485 | 57.485
March | 57.845 | 10.927 | 65.878 | 3.670 | 14.598
April | 76.053 | 15.180 | 72.901 | 6.462 | 21.642
May | 272.858 | 94.250 | 0.000 | 0.000 | 94.250
June | 496.117 | 205.185 | 0.000 | 0.000 | 205.185
July | 576.420 | 244.714 | 0.000 | 0.000 | 244.714
August | 627.713 | 270.292 | 0.000 | 0.000 | 270.292
September | 423.963 | 156.164 | 0.000 | 0.000 | 156.164
October | 232.187 | 66.112 | 0.000 | 0.000 | 66.112
November | 10.267 | 1.241 | 222.099 | 16.715 | 17.956
December | 0.000 | 0.000 | 717.358 | 82.704 | 82.704
Annual Sum or Average | 2773.423 | 1064.065 | 2312.908 | 260.850 | 1324.916
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 14.598
Maximum of Months | 627.713 | 270.292 | 722.617 | 93.813 | 270.292

## CZ14
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 530.269 | 57.618 | 57.618
February | 0.000 | 0.000 | 468.111 | 49.656 | 49.656
March | 49.482 | 5.219 | 340.415 | 44.209 | 49.427
April | 75.074 | 11.735 | 247.275 | 38.814 | 50.549
May | 305.037 | 76.414 | 113.526 | 13.648 | 90.062
June | 572.025 | 185.286 | 0.000 | 0.000 | 185.286
July | 654.337 | 205.581 | 0.000 | 0.000 | 205.581
August | 693.265 | 231.590 | 0.000 | 0.000 | 231.590
September | 474.795 | 136.152 | 7.551 | 0.482 | 136.634
October | 212.951 | 45.646 | 126.303 | 14.763 | 60.409
November | 1.150 | 0.045 | 372.506 | 40.226 | 40.271
December | 0.000 | 0.000 | 639.625 | 75.765 | 75.765
Annual Sum or Average | 3038.117 | 897.668 | 2845.582 | 335.182 | 1232.850
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 40.271
Maximum of Months | 693.265 | 231.590 | 639.625 | 75.765 | 231.590

## CZ15
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 391.614 | 33.471 | 33.471
February | 18.720 | 3.178 | 292.076 | 24.681 | 27.860
March | 204.460 | 54.840 | 84.686 | 5.555 | 60.395
April | 299.983 | 94.851 | 56.614 | 5.401 | 100.252
May | 443.562 | 165.653 | 16.977 | 1.306 | 166.960
June | 670.022 | 296.430 | 0.000 | 0.000 | 296.430
July | 718.343 | 354.109 | 0.000 | 0.000 | 354.109
August | 715.332 | 373.266 | 0.000 | 0.000 | 373.266
September | 632.299 | 273.941 | 0.000 | 0.000 | 273.941
October | 451.428 | 149.220 | 4.598 | 0.281 | 149.501
November | 133.587 | 24.284 | 92.646 | 7.558 | 31.842
December | 12.858 | 2.823 | 238.400 | 18.635 | 21.459
Annual Sum or Average | 4300.594 | 1792.596 | 1177.612 | 96.889 | 1889.485
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 21.459
Maximum of Months | 718.343 | 373.266 | 391.614 | 33.471 | 373.266

## CZ16
0 | 1 | 2 | 3 | 4 | 5
| AIR SYSTEM COOLING COIL TOTAL COOLING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM HEATING COIL TOTAL HEATING ENERGY {HOURS NON-ZERO} [HOURS] | AIR SYSTEM FAN ELECTRICITY ENERGY {FOR HOURS SHOWN} [kWh] | AIR SYSTEM FAN ELECTRICITY ENERGY [kWh]
January | 0.000 | 0.000 | 567.020 | 62.644 | 62.644
February | 0.000 | 0.000 | 424.687 | 41.143 | 41.143
March | 0.000 | 0.000 | 165.743 | 10.644 | 10.644
April | 30.067 | 4.560 | 63.046 | 4.471 | 9.031
May | 182.860 | 57.743 | 0.000 | 0.000 | 57.743
June | 404.494 | 164.309 | 0.000 | 0.000 | 164.309
July | 449.468 | 174.818 | 0.000 | 0.000 | 174.818
August | 455.081 | 194.337 | 0.000 | 0.000 | 194.337
September | 239.730 | 83.985 | 0.000 | 0.000 | 83.985
October | 85.741 | 22.196 | 7.104 | 0.331 | 22.526
November | 0.000 | 0.000 | 137.746 | 11.383 | 11.383
December | 0.000 | 0.000 | 452.257 | 45.072 | 45.072
Annual Sum or Average | 1847.441 | 701.947 | 1817.603 | 175.687 | 877.635
Minimum of Months | 0.000 | 0.000 | 0.000 | 0.000 | 9.031
Maximum of Months | 455.081 | 194.337 | 567.020 | 62.644 | 194.337